## Slide 1: RADP 215: Radiation Protection
X-ray Interaction with Matter

## Slide 2: Primary Beam
High-speed electrons hit a positively charged target in a vacuum tube
As the electrons interact with the atoms of the target, photons emerge
X-ray photons have a broad range of energies
Emerging x-ray photon beam is referred to as primary radiation

## Slide 3: Primary Beam
Two types of interactions in the anode can produce x-ray photons
  ________________
    Narrow range of energies
  ________________
    Most x-ray interactions in diagnostic range

## Slide 4: Characteristic Radiation
Characteristic x-rays are produced after ionization of a K-shell electron.
When an outer-shell electron fills the vacancy in the K shell, an x-ray is emitted.

## Slide 5: Bremsstrahlung Radiation
Results from the interaction between a projectile electron and a target nucleus.
Electron is slowed and its direction is changed.

## Slide 6: Technical Factors
Selection of optimal technical factors is critical in minimizing patient dose while producing high quality x-ray imaging.
It is our job to understand how radiation interacts with matter so that we can select optimal techniques.

## Slide 7: Peak Kilovoltage (kVp)
Highest energy level of photons in the x-ray beam
kVp controls the _________ or penetrating power, of the photons in the beam
Low kVp won’t make it out of the body
High kVp will go straight through and provide no information
Determining the optimum kVp for the patient size and body part will reduce the patient dose

## Slide 8: Milliampere-Seconds (mAs)
Product of electron tube current and time (in seconds) when the x-ray tube is activated
mAs is the main determinant of how much radiation is directed toward a patient
mAs controls the _________ of photons

## Slide 9: Distance
Distance
  Most effective means of protection from ionizing radiation
  More distance, less radiation intensity
    Spreads out like a flashlight beam
  Source to Image Distance (SID) affects the density on an image
  Beam divergence and radiation intensity varies at different distances
  ISL states beam intensity is inversely proportional to square of the distance

## Slide 10: Inverse Square Law (cont’d)
I1 = Exposure (intensity) at original distance
I2 = Exposure (intensity) at new distance
d1 = Original distance from source of radiation
d2 = New distance from source of radiation
=
(d2)2
I1
(d1)2
I2

## Slide 11: Inverse Square Law (cont’d)
SID and Radiation Intensity
  2 x SID = 1/4th of radiation intensity
  3 x SID = 1/9th of radiation intensity
  4 x SID = 1/16th of radiation intensity

## Slide 12: What Happens in the Patient ?
When radiation enters matter it can be:
_____________ - interact with atoms in the patient
_____________ – pass through without interaction
Factors affecting photon interactions include:
  ______________________________________
  ______________________________________

## Slide 13: X-ray Photons
__________ and __________ both contribute to attenuation
May be absorbed and transfer their energy to the tissue
May be scattered, change direction and possibly lose energy

## Slide 14: Radiation Protection
Absorption:
Scatter:

## Slide 15: Interactions that Attenuate the Primary Beam
Photoelectric absorption
Compton scattering
Coherent, Classical, Elastic and Unmodified scattering (all the same)
Pair Production
Photodisintegration
Two most important to us are ___________ and ____________

## Slide 16: Compton and Photoelectric Interactions
In these interactions incident photons either:
  Interact and are absorbed by the atom (Photoelectric Interaction)
  Interact and change direction, called “Scattering” (Compton Interaction)

## Slide 17: Photoelectric Absorption
Photoelectric absorption or effect
Responsible for ___________and _____________
Results when a photon interacts with a ______________ electron
Total absorption of the incident photon
Occurs if the energy is equal to or slightly greater than the binding energy of the atom

## Slide 18: Photoelectron
Negative ion
Quickly absorbed, micrometres in tissue
Photoelectron’s kinetic energy is equal to the energy of the incident photon, less the binding energy of the electron shell
May interact with other atoms until all the energy is gone

## Slide 19: Reaction in the Atom
Atom is ____________, unstable energy
Electron will drop from an outer shell to fill the void left by the photoelectron
Radiation is produced when an electron from the “L” shell jumps into the “K” shell and releases energy
Radiation given off is __________________with energy equal to the difference in binding energy

## Slide 20: Photoelectric Effect Facts
Increase probability of PE effect :
  Decrease of energy of incident photon
  Higher atomic number of irradiated tissue
Good for image quality, increased contrast

## Slide 21: Patient dose factors
Lower kVp = more photoelectric interaction
Higher atomic number = more PE absorption
Low kVp and high atomic numbers = increase patient dose

## Slide 22: Products of the Photoelectric Effect Interaction in the Body
1.
2.
3.

## Slide 23: Three Rules of PE Interaction
1.
2.
3.

## Slide 24: PE conclusion
Increased photoelectric effect provides increased contrast
Increased photoelectric effect increases patient dose

## Slide 25: Compton Interaction
Compton scattering is also known as:
  _____________ scattering
  _____________ scattering
  _____________ scattering
Responsible for most of the scattered radiation during radiographic procedures

## Slide 26: Compton Interaction
Interaction between _______ photon and ___________________________ electron
Incident photon ejects the electron from its shell, giving up some of its energy and resulting in ______________ of the atom
Incident photon is scattered in a different direction
Ejected electron can be called a ___________________________________

## Slide 27: Characteristics of Compton
Energy and direction of scatter depends on ___________ of incident photon
As ________________of tissue being irradiated increases, so does the increase of Compton Scatter
Not always totally absorbed and can leave the body, causing less patient dose
Image quality is ____________ if it hits the IR, adds no useful information

## Slide 28: Characteristics of Compton
Scatter provides the biggest safety hazard for us!
Increased Compton scattering relative to photoelectric effect as x-ray energy increases
Free electrons from Compton scatters can cause biological damage
Scattered radiation in a diagnostic exam consists mainly of the Compton effect

## Slide 29: Energy Dispersion
After collision, the energy of the incident photon is distributed between energy of scattered photon and ejected electron that may be capable of ionizing other atoms
Incident photon will lose energy
The Compton Electron may recombine with an atom needing an electron
Two factors determine the energy the photon retains:
  Initial energy of the incoming photon
  Angle of deflection

## Slide 30: Products of Compton Interaction in the Body
1.
2.
3.
Principle factors of Compton scatter
1.
2.

## Slide 31: Coherent, Classical, Elastic and Unmodified Scatters
All mean the same thing
Interaction that occurs between very low energy photons and whole atom
Occurs with photons at 10 keV or less
Photon changes direction less than 20° with no change in energy
Insignificant in diagnostic imaging

## Slide 32: Pair Production
Interaction between a very high energy incident photon (1.02 MeV) and the nucleus
Photon gives up all its energy
Does not occur in the diagnostic range
Two particles are formed:
  Negatron
  Positron
Annihilation—mass totally disappears

## Slide 33: Photodisintegration
Interaction is between extremely high energy photon (10 MeV) and the nucleus
All energy of the photon is absorbed by nucleus, exciting the nucleus
Excited nucleus emits a nuclear fragment
Part of the nucleus ejected may be in the form of a neutron, proton or alpha particles

## Slide 34: Attenuation
Attenuation will be greater with:

## Slide 35: Human Body
Matter | Effective Atomic # | Mass Density
Lung | 7.4 | 320 kg/m³
Fat | 6.3 | 910 kg/m³
Muscle | 7.4 | 1000 kg/m³
Bone | 13.8 | 1850 kg/m³
Variable thickness and density throughout the body
Air, fat, muscle and bone all have different atomic numbers and densities
Bushong, 2013, pp. 152, 157; Statkiewicz Sherer, et al., 2013, pp. 50–51