MRAD 358 – Clinical Integration 1

Radiobiology and Protection Review – Questions 1-25

- What does TLD stand for? Describe in general terms what it is.

- What is the purpose of a control monitor?

- In Canada, where on the body should the technologist wear their TLD?

- What is the maximum dose a radiation worker can receive in a one year period?

- Where would be the best place for the pregnant technologist to wear her TLD?

- What are the three cardinal principles of radiation protection?

- Describe the principle of ALARA.

- What is the inverse square law?

- By how much would the dose decrease for a person who was 1 metre from the radiation source that stepped back to a position of 4 metres away from the source?

- What type of dose response is the basis for radiation protection standards?

- If the exposure rate to a person standing 2 metres from a source is 15 R/min, what will the dose be after 2 minutes standing 5 metres from the source?

- Explain the difference between a Gray and a Sievert.

- What is the use factor for ceilings not routinely exposed to the primary beam?

- What would the occupancy factor for an unattended parking lot be?

- Differentiate between direct action and indirect action within the target theory.

- Stated simply, what is the Law of Bergonie and Tribondeau?

- Define and describe GSD.

- Name three organs or tissues that are very radiosensitive.

- List the three major effects of irradiation on a macromolecule.

- What are three observable effects of DNA irradiation?

- What does the term LD40/30 mean?

- Define mean survival time.

- Define radiolysis.

- Diagnostic x-ray radiation is described as (high/low) __________ energy and (high/low) __________ LET.

- What are the early symptoms of acute radiation syndrome?