RADP 215 – Radiation Protection

Activity – Entrance Skin Exposure/Entrance Skin Dose Calculations – ANSWER KEY

Activity: Entrance Skin Exposure/Entrance Skin Dose Calculations

Purpose:

To apply the correct formulas to calculate entrance skin exposure/entrance skin dose calculations.

Instructions:

- Refer to the following chart to answer the questions below.

- If you would like feedback on your work, email your instructor.  Compare your answers with the answer key.

| mG ImAs 110 cm SID |  |  |
| --- | --- | --- |
|  |  | mG ImAs |
| 50 |  | 0.01 |
| 60 |  | 0.02 |
| 70 |  | 0.025 |
| 80 |  | 0.03 |
| 90 |  | 0.035 |
| 100 |  | 0.04 |
| 110 |  | 0.045 |
| 120 |  | 0.05 |

1 . At 70kVp what is the output according to the chart?

0.025 mGy/mAs

- At 120 kVp what is the output according to the chart?

0.05 mGy/mAs

- How does output change as the kVp increases?

# kVp is increased, x-ray intensity would increase

- What is the intensity using an output of 60 kVp @ 2 mAs?

0.02 mGy/mAs x 2mAs = 0.04 mGy

- What is the intensity using an output of 100 kVp @ 100 mAs?

0.04mGy/mAs x 100mAs = 4.0 mGy

- What is the formula for the inverse square law?

Z

Tl _(dJ

# -(äjz

7. Using the table above, what is the approximate entrance skin exposure for a 15 cm

AP hip produced at 80 kVp @ 20 mAs? Patient distance from IR is 8cm. SIO-2i\O

TS.L

the

table

provided,

what

is

the

approximate

ESE

300-4-

Oct-v

72CM

the

table

provided,

what

is

the

approximate

ESE

300-4-

Oct-v

72CM

8. Using 	for a 30 cm lateral Lspine

L

(31)

L

(31)

0 oa5-nCy/mPö -€2 co

Q \0ct-4)

5.23mCy

5.23mCy

g. Using the table provided, what is the approximate ESE for a 25cm PA chest produced at 110 kVp @ 2.0mAs and an SID of 180cm? Patient distance from IR is 8cm.

Tn\en4y

=

A3mGy

=

A3mGy

Using the nomogram on pg. 570 in Bushong textbook answer the following questions:

10. Estimate the ESE from an AP shoulder x-ray using IOOcm. The technical factors used were 80 kVp @ 12.5mAs. The unit has 3.0 mm filtration

# mGy1100mAs (read from chart)

5 mGy/100 mAs x (12.5/100) mAs = 0.625.mGy

# Total ESE= 0.625mGy for the AP shoulder xray

I l . Estimate the ESE from a PA hand x-ray using 100cm SID. The technical factors used were 60kVp @ 2mAs. The unit has 2.5 mm filtration

3.5 mGy/100mAs (read from chart)

3.5 mGy/100 mAs x (2/100) mAs = 0.07 mGy

# Total ESE* 0.07 mGy for the PA hand x-ray