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Guided Reading Activity: QC for X-ray Tube and Generator
Purpose:
Critical thinking questions provide an opportunity to reflect on textbook readings for better understanding and retention of information.
Instructions:
· Complete the assigned textbook readings (refer to the course schedule).
· Answer the following critical thinking questions. 
· Check your answers with the answer key.
Critical Thinking Questions

1. Describe the three main parts of a quality control program for radiographic units.

2. What are the steps of quality control testing of a medical X-ray system?

3. Where should the instruction manual for the use of a radiographic system be kept?

4. Discuss the factors to evaluate within the beam restriction system and their impact on image quality and patient dose.

5. Describe the two main components of an automatic exposure control (AEC) system.

6. Discuss the various AEC system quality control parameters to be evaluated and their importance in regard to image quality.



Resources
Papp, Jeffrey. (2015). Quality management in the imaging sciences (5th ed.). St. Louis, MO: Mosby Elsevier. Retrieved from http://evolve.elsevier.com/Papp
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