APPH 226 – Apparatus and Image Management

Worksheet – Emission Spectrum

Questions 1-10

- What is the average keV of the primary beam if the kVp is set to 90 kVp?

- What is the maximum energy level of the emission spectrum?

- Most of the photons in the emission spectrum are created by what kind of interaction?

- What does the Bremsstrahlung x-ray spectrum look like?  Draw a graph to show the curve.

- Define milliampere.

- Define kilovolt peak.

- What does mAs mean?

- How does kVp affect the speed and energy of the electrons in the x-ray tube?

- What is the unit of measurement for the quantity of photons?

- How does changing kVp change the penetrability of the beam?