RADP 215 – Radiation Protection

X-Ray Interaction with Matter Worksheet

Questions 1-23

- How is the energy of the electrons inside a diagnostic x-ray tube expressed?

- What type of energy does a photoelectron have?

- What is the effective atomic number of compact bone?

- What is the term used for the energy absorbed by the patient per unit mass?

- What is the unit of measurement of absorbed dose?

- Define “Differential Absorption”.

- What are the 5 types of interaction between x-radiation & matter?

Identify the photon energy range for each types & which are important to radiology?

- List the products of Photoelectric (PE) interaction & the significance of each.

- Describe the photoelectric effect.

- When does photoelectric effect increase?

- List 3 rules of photoelectric interaction.

- What impact does photoelectric interaction have on radiography?

- Outline the circumstances that increase the probability of Compton scatter.

- Describe Compton interactions.

- What impact does Compton scatter have on radiography?

- Outline the two factors that determine the energy of a Compton interaction photon.

- Characterize incident photons & recoil electrons with respect to Compton scatter.

- Define “Coherent, Classical, Elastic or Unmodified Scatter”

- What impact does coherent scatter have on radiography?

- Describe photodisintegration

- Where diagnostic imaging would photodisintegration have the most impact?

- Identify & describe the particles formed by pair production.

When a photon gives up its entire energy what 2 particles are formed?

- Does pair production have any impact on radiography?