QUAL 370 – Quality Assurance and Control

# Quality Assurance (QA) Tests Reading Guide

Textbook/Resources:

Health Canada. (2008) Safety Code 35: Safety Procedures for the Installation, Use and Control of X-ray Equipment in Large Medical Radiological Facilities. (HC Pub: 4000) Retrieved from http://www.hc-sc.gc.ca/ewh-semt/pubs/radiation/safety-code_35-securite/index-eng.php#share.

Papp, J. (n.d). Quality management in the imaging sciences (5th ed.). St. Louis, MO: Elsevier Mosby, 2015.

| Test | Name | Textbook Readings | Safety Code 35 Readings (This supersedes all other texts). |
| --- | --- | --- | --- |
| 1 | Reproducibility/Repeatability Test | Papp, 5th Ed. pg. 97-98, 101-102 | SC35, B 2.5 2.1 |
| 2 | kVp Accuracy Test | Papp, 5th Ed. pg. 98-99 | SC35, pg. 52 Y3 |
| 3 | mA Linearity Test | Papp, 5th Ed. pg. 103 | SC35 pg 25 |
| 4 | Timer Accuracy Test | Papp, 5th Ed. pg. 101-102 | SC35 pg 25 |
| 5 | AEC Reproducibility | Papp, 5th Ed. pg. 111-113 | SC35 pg 25 |
| 6 | AEC Field Balance/Uniformity Test | Papp, 5th Ed. pg. 111-113 | SC35 pg 25 |
| 7 | AEC Density Control Test | Papp, 5th Ed. pg. 111-113 | SC35 pg 25 |
| 8 | AEC Sensitivity Test | Papp, 5th Ed. pg. 111-113 | SC35 pg 25 |
| 9 | Leakage Test |  | SC35 pg 24 |
| 10 | Visual Inspection Test | Papp, 5th Ed. pg. 126-128 | SC35 pg. 23, 24 |
| 11 | Automatic Collimation (PBL) Test | Papp, 5th Ed. pg. 105- 107 | SC35, pg. 25 (2.5.2(8 & 9)), 53(Y9), 74 -76 (11-17) |
| 12 | Collimator Light/x-ray Field Congruence and Perpendicularity Test | Papp, 5th Ed. pg. 107-108 | SC35 pg 25, 75 (This supersedes all other texts). |
| 13 | HVL Test | Papp, 5th Ed. pg. 98-99 | SC35 pg 24 (This supersedes all other texts) |
| 14 | Lead Apparel Testing | Papp, 5th Ed. pg. 95 | SC35 pg 35 (This supersedes all other texts). |
| 15 | Visual Inspection Fluoroscopy Unit | Papp, 5th Ed. pg. 126-127 |  |
| 16 | Fluoroscopy kVp Accuracy Test | Papp, 5th Ed. pg. 129 | SC35 pg 25 (This supersedes all other texts). |
| 17 | Maximum Fluoroscopic Exposure Rate Test | Papp, 5th Ed. pg. 130 | SC35 pg 26, 54 (This supersedes all other texts). |
| 18 | Fluoroscopic Field Size and Beam Alignment | See Papp 5th edition pg 107-108 | SC 35 pg 21, 25 |
| 19 | Fluoroscopic Line Pair/mm Test | Papp, 5th Ed. pg. 131 (spatial resolution) | SC35, pg. 54 (3.6.2 (Y15)) |
| 20 | Fluoroscopic Low Contrast Resolution | Papp, 5th Ed. pg. 132 |  |
| 21 | High-Contrast (Spatial) Resolution | Papp 5th edition pg 131 |  |
| 22 | Fluoroscopic Image Lag | Papp 5th edition pg 132-134 (including rotating test tool) | SC 35 pg 54 (Y22) |