APPH 226 – Apparatus and Image Management

Worksheet – Spectrum Activity

When kVp is increased, what happens?

kVp

- What effect does increasing kVp have on the total x-ray emission spectrum?

- How will decreasing kVp affect the energy level of the highest-energy photons?

- How will decreasing the kVp affect the energy level of the lowest-energy photons?

- How will increasing the kVp change the energy level of the lowest energy-photons?

- How is the average energy of the photons affected when the kVp is increased?

When mAs is increased, what happens?

mAs

- What effect does increasing mAs have on the total x-ray emission spectrum?

- How will decreasing mAs affect the energy level of the lowest-energy photons?

- How will increasing the mAs affect the energy level of the lowest-energy photons?

- How does increasing mAs affect the highest-energy photons?

- How does decreasing mAs affect the average energy of the photons?

- How does changing the mAs affect the energy levels of the discrete emission spectrum?

- If mAs is doubled, what effect would be seen on the emission spectrum?

What is affected by the target material?

Target Material

- What effect does the atomic number of the target material have on the x-ray emission spectrum?

- What effect does the increasing atomic number of the target material have on the energy level of the lowest-energy photons?

- What effect does decreasing the atomic number of the target material have on the energy level of the highest-energy photons?

- What effect does increasing the atomic number of the target material have on the characteristic emission spectrum?

- What effect does increasing the atomic number of the target material have on the average energy of the x-ray photons?