# MRAD 204 – Radiographic Technique 1 – Lab 3

Plan and perform an imaging procedure for the wrist, scaphoid, and forearm (if time permits).

Instructions

- One group member must volunteer to act as a patient for an  instructor demo.

- Observe the instructor demo, taking notes as needed

  - Opportunity to ask questions after demo is complete

- As a group decide who will begin performing the following roles:

  - Technologist

  - Patient

  - *Observer/assisting technologist (evaluate the technologist)

- The acting technologist should begin positioning a patient for routine wrist imaging:

  - Complete all 3 projections

  - Maintain a workflow (i.e. select pt. info on the console, prep the           exam room etc.)

* Audibly say “beep” when a pt. is properly positioned and you are ready to “expose”

- Switch roles and repeat step 4 until everyone has completed  positioning all routine wrist projections.

  - When switching roles, move the equipment into a completely different position

  - Repeat steps 3-5, except practice positioning a patient for routine scaphoid imaging

- Repeat steps 3-5, except practice positioning a patient for routine  forearm if time permits

- As time permits, repeat steps 3-7 to successfully accomplish the lab  goals

Goals:

- Perform an entire routine wrist exam within 8 minutes or less

- Perform an entire routine scaphoid exam within 6 minutes or less

- If time permits perform a routine forearm exam within 6 minutes or less

*Overall goal: perform room setup within 2 minutes (includes pt. double id.), and 2 minutes positioning per projection*

Notes:

- Use/share the requisitions provided at your room

- For CR, select the appropriate size cassette for your patient’s anatomy

- SID must be measured for accuracy, once equipment is lined up appropriately

- Ensure the required anatomy is centered on the image receptor

- Collimated light field borders should extend ½-inch to less than 1-inch  beyond all required anatomy

- Move the patient for scaphoid views to avoid “shooting” the Central  Ray at the patient’s body

- Follow Edenbrook’s Marker Rules,

- Ask your supervising instructors for assistance as needed