Guided Reading Activity: Outcomes Assessment Answers

## Answers

- State the three main advantages for lowering department repeat rates.

- Improved department efficiency

- Lower department costs

- Lower patient dose

- Explain the difference between causal repeat rate and total repeat rate.

- Casual repeat rate is the percentage of repeats from a specific cause such as positioning or technique errors

- Total repeat rate is the percentage of repeat images divided by the total number of views taken in any given period of time

- What are the three main categories of image artifacts for film-based images?

- Processing artifacts

- Exposure artifacts

- Handling and storage artifacts

- Describe the various types of artifacts that can occur during digital radiography

- Heat blur, improper image brightness, electronic noise, quantum mottle, defects on the imaging plate, phantom image artifact, increased sensitivity to scatter, double exposure, CR scanner malfunction, foreign objects (dirt/debris), dropped pixels, halo artifacts, printer errors

- Describe the differences between accuracy, sensitivity and specificity.

- Accuracy is the percentage or fraction of cases that are diagnosed correctly

- Sensitivity indicates the likelihood of obtaining a positive diagnosis of the disease

- Specificity indicates the likelihood of a negative diagnosis when no disease is present

- What is the causal repeat rate for positioning error if 132 images are repeated out of a total of 742 repeat images?

17.78 %

- What is the total repeat rate for a diagnostic imaging department when a total of 1640 images are obtained and 372 must be repeated?

22.68 %

- What is the primary cause of quantum mottle in a radiographic image?

- Caused when an insufficient amount of radiation is reaching the image receptor or detection device

- What is the primary cause of a Moiré artifact?

- In film/screen caused by a double set of grid lines caused by the placement of a grid cassette in a bucky

- In cr, when a stationary grid having a grid frequency in the range of 85-100 lines per inch is used and the grid lines are parallel to the cr reader scan lines

## Resources

Bontrager, K. L. & Lampignano, J. (2015). Textbook of radiographic positioning and related anatomy (8th ed.). St Louis, MO: Mosby Elsevier.

Papp, Jeffrey. (2015). Quality management in the imaging sciences (5th ed.). St. Louis, MO: Mosby Elsevier. Retrieved from http://evolve.elsevier.com/Papp