Key Factors about Oxygen and Suction

Note: Check the department’s protocol for its high-flow oxygen patients’ protocol.

Methods or Means of Delivering Oxygen

- Nasal prongs or nasal cannula

- Oxygen mask

- Non-rebreathing mask

- High-flow mask

Oxygen Equipment

- Methods of delivery (i.e., masks, nasal prongs)

- Flow meter

- Portable oxygen tank

- Tracheostomy

- Ventilator

- Pulse oximeter

Pathologies and Patient Considerations

Questions to Consider Regarding Suction

- What is the purpose of suctioning?

- List 5 responsibilities the technologist is accountable for regarding suction equipment.

- Describe the course of action that needs to be taken if a technologist is required to suction by themselves (the scope of practice).

Important Considerations When Working with Oxygen

- The rate of oxygen delivery and its concentration are based on delivery method.

- Oxygen is considered a medication; however, it’s within the x-ray technologist’s scope of practice to administer oxygen without the permission of a physician (e.g., in an emergency situation where the patient’s oxygen saturation has decreased to dangerous levels).

- Check oxygen equipment at the start of every shift and after using oxygen in an exam.

- Always check oxygen levels in tanks. Use wall units whenever possible to avoid running out of oxygen during exams/procedures and during patient transportation.

- Oxygen can be felt and heard, so listen and consider this when administering oxygen to ensure no leaks in system.

- Avoid running over oxygen tubing with wheelchair.

- Be familiar with location of additional oxygen equipment, including portable tanks.

- Know the location of the pulse oximeter and how to operate it. It provides information about the patient’s oxygen saturation and pulse rate.

Reference

Ehrlich, R. A., & Coakes, D. M. (2017). Patient care in radiography: With an introduction to medical imaging (9th ed.). St. Louis, MO: Mosby Elsevier.