MRAD 240 – Specialized Imaging 1

Lab #3 – Activity - Features of C-Arm and Mobile Checklist

Instructions: Check off tasks as completed.

Identify and locate the following features of the C-arm

|  | Feature |
| --- | --- |
|  | Location on C-arm where cable from the monitor plugs in |
|  | The connection sequence of cables and power source |
|  | On/off switch locations |
|  | Exposure switch(es) |
|  | Visual indicators displaying radiation is in use |
|  | Brakes and steering handles of monitor and c-arm |
|  | Vertical button for height adjustment |
|  | Arm extension lock |
|  | Wig-wag lock |
|  | AP/PA to lateral lock |
|  | Horizontal lateral lock |

Identify and locate the following features of the Mobile X-ray Machine

|  | Feature |
| --- | --- |
|  | Power on and off |
|  | Detector/grid features |
|  | Collimator, field size |
|  | Tape measure |
|  | Technique features |
|  | Switch for radiation on/off |
|  | Exposure switch |
|  | Accessory equipment required |
|  | Drive and brake controls |
|  | Tube movement/locks |
|  | Password protect feature |