APPH 226 – Apparatus and Image Management

# Module: Technique Selection

## Learning Outcome

Select appropriate exposure based on situational variables.

## Learning Objectives

### When you have completed this module you will be able to:

- Describe the importance of using standardized techniques.

- Compare and contrast pre-selected technique choices.

- Discuss the steps required to create a technique chart.

- Discuss the need to problem-solve when selecting an exposure.

- Identify alternate forms of imaging that may be used in conjunction with, or to supplement, conventional radiography.

## Learning Materials

- Complete assigned learning activities.