APPH 226 – Apparatus and Image Management

Worksheet - CR and CR Reader/Guided Reading Activity

Questions 1-21

Radiologic Science for Technologists 11th Edition – Bushong

Pg 284-292

- Define photostimulable luminescence

- What happens when an x-ray beam exposes a PSP?

- Why is it important to process the CR cassette as soon as possible after exposure?

- If europium was not present in the imaging plate, what would occur?

- What are the four steps in CR imaging?

- What form does the latent image occur in?

- The purpose of the stimulating laser is:

- Is there any signal loss during the “reading/detecting’ step?

- Can a CR cassette be used right after the reading/detecting step?

- What is the purpose of the lead backing on the IP?

- What is a situation where a ‘banding artifact’ can occur?

- Describe the fast scan mode vs the slow scan mode of a CR reader.

- What are two advantages of a vertical CR reader over a horizontal CR reader?

- What is the purpose of beam shaping optics in a CR reader?

- What is critical for ensuring high spatial resolution?

- Where does signal loss occur when an IP is being read?

- What type of laser is the stimulating source of choice, and why?

- What is the photodiode of choice for CR?

- What helps to prevent stimulated light from reaching the photo detector?

- If the edges of an image appear wavy, what may have occurred?

- What type of light is considered signal, and which is noise?