




MRAD 204 – Radiographic Technique 1 – Lab 5

Purpose 
1. Plan and perform an imaging procedure for the shoulder and clavicle.
Instructions 
1. One group member must volunteer to act as a patient for an instructor demo
2. Observe the instructor demo, taking notes as needed
1. Opportunity to ask questions after demo is complete
3. As a group decide who will begin performing the following roles:
1. Technologist
2. Patient
3. *Observer/assisting technologist (applies to groups of 3)
4. The acting technologist should begin positioning a patient for Routine Shoulder imaging
1. Complete all 4 projections
2. Maintain a workflow (i.e. select pt. info on the console, prep the Wall IR etc.)
i. Audibly say “beep” when a pt. is properly positioned and you are ready to “expose”
5. Switch roles and repeat step 4 (until everyone has completed positioning all Routine Shoulder projections)
6. Repeat steps 4-5, except practice positioning a patient for Routine Clavicle imaging
7. As time permits, repeat steps 4-6 to successfully accomplish the lab goals
Goals: 
1. Perform an entire Routine Shoulder exam within 10 minutes or less
2. Perform an entire Routine Clavicle exam within 6 minutes or less
*Overall goal: perform room setup within 2 minutes (includes pt. double id.), and 2 minutes positioning per projection* Reminders: 
• Ensure the IR selector is set to “wall”
• Locks must be “on” to center to the wall IR (from left-right)
• Locks must be “on” for wall IR to determine appropriate SID (110cm)
• Confirm SID at the ceiling detent (SID should be set to the 110cm detent)
• Use the laser light to align the tube and detector (superior-inferiorly)
• Ensure the required anatomy is centered to the wall detector (aka. IR)
• Collimated light field may appear distorted in some projections – note where the light hits the IR should be at a size that includes ½ beyond all required anatomy
• Follow Edenbrookson’s Marker Rules
• Ask your supervising instructor for assistance as needed







	
	
	



