# Image Critique Questions

# Module 9

- Use the 5 evaluation criteria categories when critiquing the following image to determine if it

is diagnostic:	Is this image diagnostic? Yes	No*clipped anatomy

SAIT Imaging library

- Is all the required anatomy included in the radiograph? Yes	No

*If no, explain what is required *greater trochanters must be included

AP Pelvis @ 95 kVp

Does the anatomical appearance in the radiograph correlate to what is expected from an AP projection? Yes	No

*If no, explain how the appearance of this radiograph is different compared to the ideal radiograph Legs appear to be externally rotated (should be rotated medially 15-20o); visible foreshortening of the femoral necks with lesser trochanters in profile internally/medially

- Identify if the appropriate amount of radiation was used to form the image. Acceptable, Overexposed, Underexposed

| • | Is motion present in the image? Yes | No |  |  |
| --- | --- | --- | --- | --- |
| 4. | Identify if the collimated light field was: | Acceptable, | Too Small *side to side, | Too Large |

  - Was the CR close to the middle of the required anatomy?	Yes	No

- Does the marker placement follow Edenbrook Marker Rules? Yes	No *should be closer to the ASIS

  - Are there artifacts in the image?	Yes	No

*If yes, could they have been removed? *Yes, the marker is superimposing anatomy of interest. Patients

should be provided with accurate gowning instructions prior to imaging (can see elastics from underwear)

- Use the 5 evaluation criteria categories when critiquing the following image to determine if it is diagnostic:

- Is all the required anatomy included in the radiograph? Yes	No

*If no, explain what is required

  - Symphysis pubis

- Does the anatomical appearance in the radiograph correlate to what is expected from a routine AP projection?

Yes	No

*If no, explain how the appearance of this radiograph is different compared to the ideal radiograph

  - Femoral neck is foreshortened

  - Lesser trochanter is in profile internally

  - Femur is not parallel to length of IR

- Identify if the appropriate amount of radiation was used to form the image.

Acceptable, Overexposed,

Underexposed

  - Is motion present in the image?

Yes	No

- Identify if the collimated light field was:

Acceptable, Too Small, Too Large

*If CR centering was 1-inch more medially located, symphysis pubis would have been included

  - Was the CR close to the middle of the required anatomy?

Yes	No

AP Hip @ 90 kVp

SAIT Imaging library

Is this image diagnostic? Yes	No

- Does the marker placement follow Edenbrook Marker Rules?

Yes	No

  - Are there artifacts in the image?

Yes	No

*If yes, could they have been removed?

- Use the image below to answer the next five questions:

SAIT Imaging library

90 kVp

- Which routine projection of the pelvis is displayed? AP projection

- What positioning error(s) occurred?

  - Rotation

  - Insufficient internal rotation of the right femur

- If the image was repeated, how would you correct the positioning error(s)?

  - Palpate ASIS’s bilaterally until they are parallel to IR; rotate patient slightly towards their left side (patient is in a slight RPO position)

  - Internally rotate the right femur 15-20o to match the internal rotation of the left leg

- How did you identify the positioning error(s)?

  - Obturator foramen are not symmetrical (Left foramen appears larger than the right)

  - Ala are not symmetrical (Right wing appears “wider” than the left)

  - Right lesser trochanter is visualized medial to the body of the femur

- If the image had to be repeated, would you make any other adjustment(s)? Explain your rationale.

  - Move the anatomical marker closer to the ASIS

  - Center a bit more inferiorly (CR should be below ASIS) and increase collimation slightly in the superior-inferior direction

- Use the image below to answer the next five questions:

72 kVp

- Which routine projection of the hip is displayed?

AP projection

- What positioning error(s) occurred?

  - Left femur not abducted sufficiently

- If the image was repeated, how would you correct the positioning error(s)?

  - Move the femur laterally

- How did you identify the positioning error(s)?

  - Femoral body not parallel to length of IR

Note: recall on some patients even after a 15-20o internal rotation of the femur the medial edge of the lesser trochanter may still be visualized – as is seen in this radiograph

SAIT Imaging library

- If the image had to be repeated, would you make any other adjustment(s)? Explain your rationale.

  - Increase technique, image is underexposed

  - Slightly decrease collimation side-side (aka. increase field size) as symphysis pubis must be included in the radiograph

  - Center CR more inferiorly and increase collimation superiorly-inferiorly (top of light field should only extend to ASIS)

- Use the 5 evaluation criteria categories when critiquing the following image to determine if it is diagnostic:

Lateral Hip @ 80 kVp

Is this image diagnostic? Yes	No

SAIT Imaging library

- Is all the required anatomy included in the radiograph? Yes	No

*If no, explain what is required

- Does the anatomical appearance in the radiograph correlate to what is expected from a lateral projection?

Yes	No

*If no, explain how the appearance of this radiograph is different compared to the ideal radiograph

- Identify if the appropriate amount of radiation was used to form the image.

Acceptable, Overexposed, Underexposed

  - Is motion present in the image? Yes	No

- Identify if the collimated light field was:	Acceptable,	Too Small,	Too Large *side to side entire soft tissues of the thigh are not required

| - Was the CR close to the middle of the required anatomy? | Yes | No *CR should be more superior, |
| --- | --- | --- |
| over the femoral neck |  |  |
| - Does the marker placement follow Edenbrook Marker Rules? - Are there artifacts in the image? Yes No | Yes | No *marker is over anatomy |

*If yes, could they have been removed? Yes the anatomical marker is a removable artifact