Title of Assignment


[bookmark: _GoBack][image: C:\Users\Fayyaz\Downloads\Eden-Brook-College-1.png]       Quality Assurance and Control

Guided Reading Activity: QC for Fluoroscopy Equipment
Purpose: 
Critical thinking questions provide an opportunity to reflect on textbook readings for better understanding and retention of information.
Instructions:
· Complete the assigned readings (refer to the course schedule).
· Answer the following critical thinking questions.
· Check your answers with the answer key.
Questions
1. Describe the main components of a fluoroscopic image intensifier tube.

2. Explain how the brightness gain of an image intensifier tube is determined.

3. Discuss the four factors that affect the brightness of fluoroscopic images.

4. Explain the difference between conventional image intensifier tubes and multifield image intensifier tubes.

5. Describe the four basic types of artifacts that can appear on images created with image intensifier tubes.

6. Discuss the four basic types of television cameras that have been used in fluoroscopic systems.

7.  Describe the procedure for evaluating monitor brightness during the visual inspection.

8. Explain the difference between high-contrast and low-contrast resolution.

9.  Describe how veiling glare or flare would be evaluated in a fluoroscopic system.
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Papp, Jeffrey. (2015). Quality management in the imaging sciences (5th ed.). St. Louis, MO: Mosby Elsevier. Retrieved from http://evolve.elsevier.com/Papp
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