APPH 226 – Apparatus and Image Management

# Worksheet - PACS Fundamentals

# Questions 1-24

Digital Radiography and PACS 3rd Ed: Pg 113-136

- A PACS can be thought of as:

- Which modalities utilize PACS?

- The first PACS was developed to serve a single modality, which one?

- What is considered to be the most interactive component of PACS?

- Describe the purpose of the display workstation.

- Which component of PACS is considered to be the file room?  Describe its features.

- Which monitors are used in PACS display stations?  Which is more common?

- What determines the resolution required for a monitor?

- Which modality requires a higher resolution for monitor?

- What type of hardware is required for a radiologist reading station?

- What is one of the most important features of a physician review station?

- What advantage has the implementation of PACS brought to the referring physician in terms of improving patient care?

- What is the technologist QC station used for?

- Complete the chart.

| System | Description | Advantages | Disadvantages |
| --- | --- | --- | --- |
| Client/Server |  |  |  |
| Distributed / Stand-alone |  |  |  |
| Web-based |  |  |  |

- Are technologists allowed to manipulate the images before sending them to the radiologist?

- Why would a technologist need to retrieve historic images?

- What is the primary function of the file room workstation?

- How can image CDs be viewed?  Can the images be manipulated?

- Complete the following chart describing the types of common functions found on a PACS workstation.

| Function | Purpose |
| --- | --- |
| Navigation |  |
| Image manipulation and Enhancement |  |
| Image Management |  |
| Advanced Workstations |  |

- What is a hanging protocol?

- List and describe the commonly used image manipulation and enhancement functions.

- What can happen if demographic information is incorrect?

- What is a measure taken to decrease errors when modification of demographic information is needed?

- List and describe the commonly used advanced functions.