




MRAD 204- Radiographic Technique 1 – Lab 8

Purpose
1. Plan and perform an imaging procedure for the pelvis and hip.
Instructions
1. One group member must volunteer to act as a patient for an instructor demo

2. Observe the instructor demo, taking notes as needed
1. Opportunity to ask questions after demo is complete

3. As a group decide who will begin performing the following roles:
1. Technologist
2. Patient
3. *Observing technologist (applies to groups of 3)

4. The acting technologist should begin positioning a patient for Routine Pelvic imaging
1. Complete AP Pelvis projection
2. Maintain a workflow (i.e. select pt. info on the console, prep the exam room etc.)
1. Audibly say “beep” when a pt. is properly positioned and you are ready to “expose”

5. Switch roles and repeat step 4 (until everyone has completed positioning a Routine Pelvic projection)

6. Repeat steps 4-5, except practice positioning a patient for Hip imaging

7. As time permits, repeat step 6 on the opposite anatomical side, to successfully accomplish the lab goals


Goals:
1. Perform an entire Routine Pelvic exam within 2 minutes or less
2. Perform a unilateral Right Hip exam within 4 minutes or less
3. Perform a unilateral Left Hip exam within 4 minutes or less
*Overall goal: perform room setup within 2 minutes (includes pt. double id.), and 2 minutes positioning per projection*
Reminders:
 Ensure the IR selector is set to “table”
 Lock must be “on” to center to the table IR (from left-right) and for all “straight ray” projections
 Use the laser light to align your tube and detector (superior-inferiorly)
 Ensure required anatomy is centered to the IR (aka. detector) by free-floating the table
 Follow Edenbrook’s Marker Rules
 Re-set the room after each exam to practice managing the equipment
 Ask your supervising instructor for assistance as needed









	
	
	



