RADP 215 – Radiation Protection

# Activity: Protecting Patients

# Questions 1 - 31

## Purpose:

To review the concepts related to protecting patients and reducing patient dose during diagnostic imaging procedures.

## Instructions:

- Answer the following questions.

- Upload a completed copy into Edenbrook.

- Your instructor will review the answers with the class.

- What are seven methods that we can use to try and reduce patient dose?

- Why is it important to have a technique chart for each room or APR?

- What is the ideal kVp and mAs combination for the least patient dose?

- Why is that combination of technical factors among the best for lowing the dose?

- What changes to image quality may be visualized when an image is produced with a high kVp and low mAs?

- How is the optimum technique determined?

- What are the most common SIDs used when creating technique charts and factors?

- What is the outcome if an exposure is taken at an SID that is too short?

- What is the outcome if an exposure is taken at an SID that is too long?

- Name and describe the construction and use of the four types of patient shields commonly used?

- When do we shield?

- When would we choose not to use shielding?

- Why is collimation the first and most important step in dose prevention and shielding?

- What is the advantage of “Positive Beam Limitation” (PBL)?

- What are the three types of beam limitation devices?

- What are the advantages of filtration in regard to dose and imaging?

- How would a compensating filter be used?

- What is the location and purpose of a grid?

- What are the advantages of a grid in regard to the image?

- What are the disadvantages of a grid in regard to the patient dose?

- How can good communication with your patient make an examination more successful and help reduce patient dose?

- Why is it important to explain the procedures to your patients, especially lengthy examinations?

- What should technologist never do when explaining procedure to a patient?

Immobilization:

- What is the outcome on the image when there is motion during an exposure?

- What are the two types of motion that can cause blurring of an image?

- What is the purpose of giving the patient breathing instructions?

- What equipment can be used to effectively immobilize a patient or body part?

- Why is it important to have a quality control program in a facility?

- What would happen if a facility is without a quality control program?

Protection Standards:

- Identify the five major organizations from the descriptions below responsible for evaluating risks with radiation doses and biologic effects.

- Considered the international authority regarding the safe use of ionizing radiation

- Evaluates information on biologic effects of radiation

- Provides radiation protection guidance through general recommendations on dose limits

- US Corporation

- Non-governmental organization

- Determines how ICRP recommendations are incorporated into US radiation protection criteria

- Helps form radiation protection guidelines

- Evaluates human and environmental ionizing radiation exposures

- Derives risk assessments from epidemiologic data and provides information to organizations (like ICRP) for evaluation

- Advisory group that reviews studies of biologic effects of ionizing radiation and risk assessment

- Also study groups like early radiation workers, atomic bomb victims and nuclear accidents

- Provides information to organizations like ICRP for evaluation

- Federal department responsible for helping the Canadian people maintain and improve their health

- Responsible for Safety Code 35

- What is the purpose of these groups?