MRAD 358 – Clinical Integration 1

Apparatus and Image Management Review – Questions 1-15

- How many shades of gray are in a 10 bit system

- A good radiograph was produced using the factors listed below.  Each change is made independently.  Please indicate the effect on all radiographic qualities after each change. (Indicate: + for increase; - for decrease; 0 for no change)

Factors used:

100 mA 	90 kVp 	1.2 mm focal spot	2.5 mm filtration

10 msec 	180 cm SID 	8:1 Grid

1 mAs 	5 cm OID 	8x10 collimation field

| Changes | Density | Contrast | Recorded Detail | Distortion |
| --- | --- | --- | --- | --- |
| 300 mA |  |  |  |  |
| 25 msec |  |  |  |  |
| 4.7 mAs |  |  |  |  |
| 60 kVp |  |  |  |  |
| 100 cm SID |  |  |  |  |
| 22 cm OID |  |  |  |  |
| .6 mm focal spot size |  |  |  |  |
| 12:1 grid ratio |  |  |  |  |
| 10 x 12 field size |  |  |  |  |
| 2 mm filtration |  |  |  |  |

- What is the definition of contrast?

- What is the difference between subject contrast and IR contrast?

- What are the three principle components of the PACS system?

- What are the three types of charts available with x-ray tubes and what purpose do they serve?

- What is the formula for calculating heat unit (HU)?

- What is the purpose of a falling load generator?

- How does the falling load generator accomplish its purpose?

- What is the definition of grid ratio?

- Define the focal range of a grid.

- What is grid cut-off?

- What formula would you use to convert from a 5:1 grid to a 16:1 grid? What other technical factor affects grid conversion?

- What is the main purpose of inherent filtration? What is the main purpose of compensating filters?

- What is the formula to figure out the magnification factor on a radiograph?