APPH 226 – Apparatus and Image Management

# Lab 8 - Technique Charts

### Purpose

Objective: 11.3 Discuss the steps required to create a technique chart.

Assess and modify technical factors.

### Instructions - Part One

| Part | Position | APR |  |
| --- | --- | --- | --- |
|  |  | kVp | mAs |
| Forearm | AP |  |  |
|  | LAT |  |  |
| Elbow | AP |  |  |
|  | LAT |  |  |
| Humerus | AP |  |  |
|  | LAT |  |  |
| Ankle | AP |  |  |
|  | OBL |  |  |
|  | LAT |  |  |
| Wrist | PA |  |  |
|  | OBL |  |  |
|  | LAT |  |  |
| Tib/Fib | AP |  |  |
|  | LAT |  |  |

- Using the APR on the console (control panel) complete the technique chart above.

### Instructions  - Part Two

- Select a phantom and take an image(s) using the exposure factors from the technique chart you completed above.

- Assess the image and record the EI onto the chart below.

| Phantom Part | Position | kVp | mAs | EI |
| --- | --- | --- | --- | --- |

Discussion:

- How should the technique be adjusted for a hypersthenic patient (large build)?

- If an osteoporotic patient came into the department, should the technologist use a technique chart for this patient? (osteoporosis is loss of bone density)