- a) Label the buttons seen on this detector control, using all of the terms provided.

1.

Tracking

2.

A

EC Indicator

3.

L

ight Field

4.

Collimators

5.

Moves detector position

6.

Moves the detector position

7.

S

econdary function

8.

A

ll locks release

9.

Adjusts the centering to

the detector

1.

Tracking

2.

A

EC Indicator

3.

L

ight Field

4.

Collimators

5.

Moves detector position

6.

Moves the detector position

7.

S

econdary function

8.

A

ll locks release

9.

Adjusts the centering to

the detector

horizontally

vertically

  - Circle which button(s) would need to be depressed if the detector was below the table and needed to be returned to the upright position quickly.

Must press the secondary function first, then the upright button (top left button that moves the detector horizontally)

  - If the detector crashed into the table, identify which button(s) would correct the error.

Pressing and holding the All Locks button down while physically pushing the detector down (away from the table). The detector will then automatically reset.

- Label the buttons seen on the following two control panels, using all of the terms provided.

| - On button - Off button - APR button - Focal spot selector | - AEC button - kVp Readout - Exposure/Rotor button - Exposure/System ready | - mAs Readout - AEC cell selector - Detector selector |
| --- | --- | --- |

1.

On

2.

O

ff

3.

APR

4

.Fss

5.

AEC

6

.kVp

9

.mAs

.Exposure

7

.System Ready

8

10

.AEC

cell selector

.Detector selector

11

1.

On

2.

O

ff

3.

APR

4

.Fss

5.

AEC

6

.kVp

9

.mAs

.Exposure

7

.System Ready

8

10

.AEC

cell selector

.Detector selector

11

*Note: The “on” (1) and “off” (2) buttons, and the exposure/rotor button (7) are not displayed in this image.

3.

APR

. Fss

4

5.

AEC

.kVp

6

9

.mAs

8

.System Ready

10

.AEC cell selector

11

.Detector selector

3.

APR

. Fss

4

5.

AEC

.kVp

6

9

.mAs

8

.System Ready

10

.AEC cell selector

11

.Detector selector

- a) Label the buttons displayed on the tube, using all of the terms provided.

| - Collimation controls - Light field only - Light field/laser light - Detector selector | - All locks release - Transverse lock - Vertical lock - Angulation lock | - Rotational lock - Longitudinal lock - SID Readout - Angulation Scale |
| --- | --- | --- |

1.

Collimation Controls

2.

Light Field

3.

Light Field/Laser

4.

Detector

Selection

5.

All Locks Release

.Transverse lock

6

.Vertical lock

7

8

.Angulation lock

.Rotational lock

9

10.

Lo

ngitudinal lock

.SID Readout

11

12.

A

ngulation scale

1.

Collimation Controls

2.

Light Field

3.

Light Field/Laser

4.

Detector

Selection

5.

All Locks Release

.Transverse lock

6

.Vertical lock

7

8

.Angulation lock

.Rotational lock

9

10.

Lo

ngitudinal lock

.SID Readout

11

12.

A

ngulation scale

  - Identify where the measuring tape could be found (if it where visible).

Behind and below the collimation controls, as shown in red.

  - Which end is the anode, and which is the cathode?

Left side of the image (Detector selection side) = Anode (+)

Right side of the image (Measuring tape side) = Cathode (-)

  - How many degrees of angulation does each increment (line) on the angulation

scale indicate?

15 degrees

- Label all the components seen in the image below.

Detector Lock

Table Release/Float

Table Down

Detector Alignment Tool

Center of Detector Indicator

Detector Lock

Table Release/Float

Table Down

Detector Alignment Tool

Center of Detector Indicator