APPH 226 – Apparatus and Image Management

Additional Final Exam Review Questions

1.	Radiographic contrast is a combination of:

2.	Define image receptor contrast.

- What happens to radiographic contrast if the image is too light or too dark?

  - Increases

  - Decreases

  - Stays the same

- Which scenario will create a lower contrast image?

  - An area with a large radiation field

  - An area with a small radiation field

- ________ contrast occurs if areas with drastically different atomic numbers are adjacent to each other.

  - Low

  - High

- What is the purpose of contrast media?

- What type of contrast media would barium or iodine be classified as?

  - Positive contrast media

  - Negative contrast media

- What is meant by packing density?

- High contrast exists between adjacent areas when the difference in tissue or packing density is high.

  - True

  - False

- Which images contain more information?

  - Low contrast

  - High contrast

- How does density affect contrast evaluation?

- Which technical factor controls the number of Compton scattering interactions versus photoelectric absorption interactions?

  - kVp

  - mA

  - SID

  - Time

- A greater quantity of photoelectric effect interactions will occur with:

  - Low kVp

  - High kVp

  - Unaffected by kVp

- Which kVp allows more of the resulting scatter to exit the body, thereby decreasing dose, and decreasing image contrast?

  - Low kVp

  - High kVp

  - Unaffected by kVp

- What modification should be made to the technical factors to increase contrast of an image?

  - Decrease kVp

  - Decrease mAs

  - Increase kVp

  - Increase mAs

- Can mAs and SID affect radiographic contrast?

17. How does increasing the OID affect contrast and why?

- Does focal spot size affect contrast?

- What effect will increased filtration have on contrast?

    - Decrease it

    - Increase it

- How will a larger field size affect contrast and why?

- If the atomic number of the matter being imaged is increased, how will contrast be affected?

- If the speed of an intensifying screen is changed, how will that affect contrast?

- Which of these body components would display the most radiographic density?

    - Air

    - Muscle

    - Fat

    - Bone

- Which body component would absorb the most x-ray photons?

    - One with many electrons

    - One with few electrons

- The reduction in intensity of radiation as it passes through matter is called:

    - Atomic number

    - Attenuation

    - Differential absorption

    - Tissue density

- When x-rays are absorbed differently through a body part depending on its average atomic number and mass density, this is called:

    - Exponential attenuation

    - Atomic number

    - Differential absorption

    - Tissue density

- If two body components were exactly the same except for their thickness, which component would absorb the most radiation?

    - The thicker body component

    - The thinner body component

- If two body components with different thicknesses receive the same amount of radiation, the IR under which would display the most radiographic density?

a.	The thicker body component

b.	The thinner body component

- Which of the following body components has the highest atomic number?

    - Air

    - Muscle

    - Bone

    - Fat

- The body component that will stop the most x-ray photons is the one with:

    - High tissue density

    - Low tissue density

- Which has the lowest packing density of atoms?

    - Air

    - Muscle

    - Fat

    - Bone

- Which mAs will produce a radiograph with the greatest density?

    - 50 mA, 18 msec

    - 500 mA, 3 msec

    - 300 mA, 25 msec

    - 200 mA, 40 msec

- Which technique would be the best suited for a pediatric patient?

    - 100 mA, 0.05 sec

    - 200 mA, 1/40 sec

    - 500 mA, 10 msec  **Shortest exposure time

    - 50 mA, 0.10 sec

- If all other factors (kVp, distance and time) remained the same, and the mA was increased from 100 to 200, how will the radiographic density be affected?

- If all other factors (kVp, distance, mA) remained the same and the time was decreased from 0.1 to0.05 sec, how will radiographic density be affected?

- To maintain radiographic density, if the original technique was 10 mAs at an SID of 180cm, what will the new mAs be at an SID of 100 cm?

- An exposure is taken using the following parameters: 8 mAs, 70 kVp, 40 inch SID, 12:1 grid.  A repeat is taken using: 80 kVp, 40 inch SID, 8:1 grid.  What should the new mAs be to maintain radiographic density?

- To maintain the density on a radiograph, what kVp should be set if the factors were changed from 80 kVp, 200 mA, ½ sec  to 800 mA, ¼ sec?

- To halve the density on a radiograph, what kVp should be set if the factors were changed from 95 kVp, 120 mA, 0.6 sec to 400 mA, 0.36 sec?

- To double the density on a radiograph, what kVp should be set if the factors were changed from 60 kVp, 100 mA, ½ sec to 400 mA, ¼ sec?

- To maintain the density on a radiograph, what mA should be set if the factors were changed from 60 kVp, 100 mA, ½ sec to 69 kVp, ¼ sec?

- To maintain the density on a radiograph, what time should be set if the factors were changed from 120 kVp, 150 mA, ½ sec to 87 kVp, 150 mA?

- An AP radiograph of the knee was exposed using the following parameters: 3.2 mAs; 60 kVp; 40 inch SID.  The image is repeated using 70 kVp and an 8:1 grid.  The SID will remain the same.  What will the new mAs be to maintain radiographic density?

- If a characteristic curve has a steep slope, what would the resulting image look like?

- There are two characteristic curves, labeled Curve A and Curve B.  Answer questions 45-46.

- If Curve A is said to be slower than Curve B, what would it look like?

- If Curve A has more latitude than Curve B, what would it look like?

- What does an image that has a characteristic curve with more latitude look like?

- What is a major advantage of a fixed kVp/variable mAs technique chart?

- When would a variable kVp/fixed mAs technique chart be useful?

- The main advantage of using an image intensifying screen is:

- What does the Nyquist theorem state?

- In general, how would radiographs taken using a variable kVp technique chart appear in comparison to a fixed kVp technique chart?

- List situations where a technologist would not use a technique chart.

- If the LUT applied to an image is a straight diagonal line, what will the image look like?

- Why do LUTs commonly resemble characteristic curves?

- Which has increased dynamic range?

      - CR/DR

      - Film/screen

- The size of the matrix will affect:

      - Pixel size

      - Spatial resolution

      - Image quality

      - All of the above

- As the size of the pixel ____________, the spatial resolution will ____________.

      - Increases; increase

      - Decreases; decrease

      - Decreases; increase

      - Increases; stay the same

- If window width is decreased, contrast will be:

      - Increased

      - Decreased

      - Unaffected

- If window level is increased; contrast will be:

      - Increased

      - Decreased

      - Unaffected

- If the area of interest has pixel values from 400-700, what would be the best window width and level to set?

- If the area of interest has pixel values from 1000-1500, what would be the best window width and level to set?

- What can be used as an indicator of whether an image has been properly exposed in digital radiography?

- What is the main difference between an indirect detector and a direct detector?

- What is the difference between a turbid phosphor and a structured phosphor?

- Which type of phosphor would produce higher spatial resolution?

- What is the benefit of a vertical placement CR reader over a horizontal placement reader?

- Which part of the cassette is read inside the CR reader?

- What are 6 advantages of PACS?

- The three main components of PACS are:

- The two main components of PACS archiving are:

- What is the most common medium used for short term storage?

- How many levels are in the RAID system, and which is used in radiology for PACS archiving?

- The commonly used recording devices for long term storage are:

- How are tapes stored for archival purposes?

- What is the main advantage of tape libraries?

- What are the two types of image compression, and what is used in DI?

- What is a LAN?

- Does a digitizer perform the same function as an imager?

- List & explain the common post processing functions:

- Assuming a high frequency generator, how many HU would be generated by an exposure of 900 mA,0.1 s and 80 kVp?

- Assuming a high frequency generator with a load of 350000 HU, what is the maximum number of consecutive exposures that could be made, using 70 kVp and 12 mAs?

- A disadvantage of a bus network topology is:

- How is a histogram generated?

- Why is important to select the correct body part from the APR?

- What is the appearance of an LUT for a ‘black bone’ image?

- What information is provided by the exposure indicator?

- List the factors that can affect the EI.

- What is the typical ideal exposure indicator value?

- What is the appearance of a backscatter artifact?

- What is the appearance of a plate reader artifact?

- The primary goal of reject repeat analysis is:

- Three advantages to reducing repeat examinations are:

- A major risk of trying to reduce the repeat rate to zero would be:

- If the repeat rate was 2%, how should the quality control technologist proceed?

- Define distortion.

- What type of property is distortion?

  - Geometric

  - Photographic

- Name the two types of distortion.

- What aspect of an exam is distortion is directly related to?

- Magnification and minification are both types of size distortion possible in radiography.

  - True

  - False

- How does increasing magnification affect recorded detail?

- Why should a chest be done at 180 cm instead of 110 cm when possible?

103.	If Object 1 appears larger on the image than Object 2, and they are the same size, which object is farther from the IR?

- How does SID affect magnification?

- What type of property is recorded detail?

  - Geometric

  - Photographic

- Define recorded detail

- List other names for recorded detail.

- What is the unit used for spatial resolution?

- For the resolution test tool, a line pair consists of

  - Two metal lines and one space between

  - One metal line

  - One metal line and one space

  - Number of lines that fit into one millimeter

- Calculate the magnification factor (M) if the SID is 120 inches and the object is 12 inches from the film.

- Calculate the magnification factor (M) if the SID is 60 cm and the SOD is 55 cm.

- Calculate the magnification factor (M) if SOD is 130 cm and the OID is 50 cm.

- Calculate the object size if image size equals 13 cm and M (magnification factor) equals 1.7.

- Calculate the magnification factor if the image is 8 inches and the object is 5 inches.

- Calculate the image size if the magnification factor (M) is 1.19 and the object is 13 cm.

- Calculate the SOD if SID equals 40 inches, image equals 9 inches, and the object equals 7.5 inches.

- Calculate the image size if SID is 50 inches, objects is 3 inches, and OID is 4 inches.

- Calculate the percent magnification if the image is 26 cm and the object is 21 cm.

- Calculate the percent magnification if the image is 16 cm and the magnification factor (M) is1.8.

- A gallbladder stone measures 2 cm on the radiograph. The SID is 100 cm and the SOD is 90 cm. What is the actual size of the stone?

- Foreshortening occurs when

  - the tube is angled (CR not perpendicular to IR and part)

  - the IR is angled (not parallel to part being examined)

  - the part being examined is not parallel to image receptor

- Elongation alone occurs when

  - the tube is angled (CR not perpendicular to IR and part)

  - the IR is angled (not parallel to part being examined)

  - the part being examined is not parallel to the image receptor

- Why is it important for the central ray to traverse the joint space?

124.	What three types of incorrect centering (alignment) may occur?

125.	If the body part is farther from the CR, shape distortion is decreased.

- True

- False