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Activity Answers: Test 17 Maximum Fluoroscopic Exposure Rate Calculations
Evaluation of Data
	Mode
	kVp
	mA
	R/min
	mGy/min

	Continuous
	110
	3
	1.65
	3.1

	Pulse
	110
	0.72
	9.926
	3.8

	Low Dose
	110
	1.5
	0.8863
	4.6





Conclusion: Pass ______X________      Fail ________________
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