MRAD 302 – Specialized Imaging 2

Activity: Digital Subtraction Angiography

Instructions:

- Answer the following questions.

Questions:

- What type of x-ray generators are used for vascular imaging?

- Describe the features of angiographic tables

- Describe the basic components of an automatic injector device.

- What factors affect the flow rate of contrast medium?

- What is the total volume of contrast medium injected if a 3 cc/sec. flow rate is used during a 4 second injection?

- How is injection initiated?

- Describe the safety features included with automatic injector devices.

- Describe options that are available for automatic injector devices.

- What principle does DSA use to achieve an image without superimposition?

- Describe the major image acquisition system components of DSA.

- Describe how a digital subtraction angiographic (DSA) procedure is performed.

- Describe common digital image post processing applications used in DSA.