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Instructions:
 Answer the following questions.

Questions:
1. What type of x-ray generators are used for vascular imaging?
2. Describe the features of angiographic tables
3. Describe the basic components of an automatic injector device.
4. What factors affect the flow rate of contrast medium?
5. What is the total volume of contrast medium injected if a 3 cc/sec. flow rate is used during a 4 second injection?
6. How is injection initiated?
7. Describe the safety features included with automatic injector devices.
8. Describe options that are available for automatic injector devices.
9. What principle does DSA use to achieve an image without superimposition?
10. Describe the major image acquisition system components of DSA.
11. Describe how a digital subtraction angiographic (DSA) procedure is performed.
12. Describe common digital image post processing applications used in DSA.
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