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Quality Assurance (QA) Tests Reading Guide
Textbook/Resources: 
Health Canada. (2008) Safety Code 35: Safety Procedures for the Installation, Use and Control of X-ray Equipment in Large Medical Radiological Facilities. (HC Pub: 4000) Retrieved from http://www.hc-sc.gc.ca/ewh-semt/pubs/radiation/safety-code_35-securite/index-eng.php#share.
[bookmark: _GoBack]
Papp, J. (n.d). Quality management in the imaging sciences (5th ed.). St. Louis, MO: Elsevier Mosby, 2015.

	Test
	Name
	Textbook Readings
	Safety Code 35 Readings
(This supersedes all other texts).

	1
	Reproducibility/Repeatability Test
	Papp, 5th Ed. pg. 97-98, 101-102 
	SC35, B 2.5 2.1 

	2
	kVp Accuracy Test
	Papp, 5th Ed. pg. 98-99
	SC35, pg. 52 Y3 

	3
	mA Linearity Test
	Papp, 5th Ed. pg. 103
	SC35 pg 25 

	4
	Timer Accuracy Test
	Papp, 5th Ed. pg. 101-102
	SC35 pg 25 

	5
	AEC Reproducibility
	Papp, 5th Ed. pg. 111-113
	SC35 pg 25 

	6
	AEC Field Balance/Uniformity Test
	Papp, 5th Ed. pg. 111-113
	SC35 pg 25 

	7
	AEC Density Control Test
	Papp, 5th Ed. pg. 111-113
	SC35 pg 25 

	8
	AEC Sensitivity Test
	Papp, 5th Ed. pg. 111-113
	SC35 pg 25 

	9
	Leakage Test
	
	SC35 pg 24 

	10
	Visual Inspection Test
	Papp, 5th Ed. pg. 126-128
	SC35 pg. 23, 24

	11
	Automatic Collimation (PBL)
Test
	Papp, 5th Ed. pg. 105- 107
	SC35, pg. 25 (2.5.2(8 & 9)), 53(Y9), 74 -76 (11-17)

	12
	Collimator Light/x-ray Field Congruence and Perpendicularity Test
	Papp, 5th Ed. pg. 107-108

	SC35 pg 25, 75 (This supersedes all other texts). 


	13
	HVL  Test
	Papp, 5th Ed. pg. 98-99

	SC35 pg 24 (This supersedes all other texts)

	14
	Lead Apparel Testing
	Papp, 5th Ed. pg. 95
	SC35 pg 35 (This supersedes all other texts). 

	15
	Visual Inspection Fluoroscopy Unit
	Papp, 5th Ed. pg. 126-127
	

	16
	Fluoroscopy kVp Accuracy Test
	Papp, 5th Ed. pg. 129

	SC35 pg 25 (This supersedes all other texts). 

	17
	Maximum Fluoroscopic Exposure Rate Test
	Papp, 5th Ed. pg. 130

	SC35 pg 26, 54 (This supersedes all other texts). 

	18
	Fluoroscopic Field Size and Beam Alignment
	See Papp 5th edition pg 107-108
	SC 35 pg 21, 25

	19
	Fluoroscopic Line Pair/mm Test
	Papp, 5th Ed. pg. 131 (spatial resolution)
	SC35, pg. 54 (3.6.2 (Y15))

	20
	Fluoroscopic Low Contrast Resolution 
	Papp, 5th Ed. pg. 132
	

	21
	High-Contrast (Spatial) Resolution
	Papp 5th edition pg 131
	

	22
	Fluoroscopic Image Lag
	Papp 5th edition pg 132-134 (including rotating test tool)
	SC 35 pg 54 (Y22)







1     | School Name: Course Code/Name
	3
	MRT Program – QUAL 370: Quality Assurance and Control



image1.png




