# MRAD 25ô - Rodiogrophic Technique 2 Lab Midterm Positioning Exam Review

C Spine Changing Instructions

Remove top, bra, jewelry, hearing aids, and hair accessories. Gown on

AP Axial C spine

- SID 110 cm

- CR 15 degrees cephalad

- Center at loryngeol prominence

- Adiustchin angle to line up parallel with light with 1 cm of light on the mandible

- Collimate to side of soft tissue and to include iugular notch

- Suspend respiration

- Marker in upper corner of light

### Odontoid

- SID 110 cm

- CR perpendicular to IR

- Set light field to include C 1 and C2

- Hove pt open mouth and hove crosshairs at corner of mouth, light field is |ust outside of mouth when open

- Adiustchin angle to line up mastoid tip and occlusal plane

- Suspend respiration

- Marker in upper corner of light

Lateral C-spine

## SID 180 cm

### CR perpendicular to IR

- Center in the region of laryngeal prominence

- Ad|Ust chin angle to move gonion off of C1-2

- Depress shoulders

- Collimate to include top of ear (sella turcica) to 1 inch (2.S cm) above |uguIar notch, and to sides of soft tissue

- Rotate collimator as needed

- Suspend respiration on expiration

- Marker anterior upper corner

Oblique C-Spine

- SID 110 cm

- CR 15 degrees cephalad

- Center at laryngeal prominence, ad|ust pt MSP to 45 degree oblique

- Ad|Ust chin angle to move gonion off of C 1-2

- Collimate to EAM and iugular notch, sides of soft tissue

- Rotate collimator if required, turn head to lateral

- Marker in upper corner

Thoracic Spine Changing Instructions Top, bra, necklace. Put on gown.

AP T-Spine

- SID 110 cm

- Supine

- CR perpendicular to IR

- Center at T7, 3-4 inches or 8-1 0 cm below iugular notch

- Collimate to include CA, 2 inches or 5 cm above |uguIor notch, bottom of light field

should exit at LCM on table, and to width of pt's neck

- Suspend respiration on expiration

- Marker on table upper corner

Lateral T-Spine

- Supine

# SID 110 cm

- CR perpendicular to IR

- Center T7', in posterior half of thorax

- Collimate to include |ugular notch and LCM, and to include spinous processes

- Suspend respiration on inspiration

- Marker on crosshoir anterior or top corner of light field on anterior side (axilla)

Swimmer's View

- Supine

- SID 110

- CR angles 5 degrees caudad

- Elevate left arm and reach for floor with right arm, maintaining true lateral position

- Center at level of vertebra prominens

- Collimate to include CA-T3-4, sides of soft tissue, do not clip vertebra prominens, rotate as needed

- Suspend respiration on expiration

- Marker on anterior side, in light under chin

Lumbar Spine Changing Instructions Top, bra, pants. Gown on

AP Lumbar Spine

- SID 110 cm

- CR perpendicular to IR

- Pt knees MUST be flexed

- Center at a point between LCM and iliac crests, --4	cm above iliac crests

- Collimate side to side to include SI |oints,-4-5 cm medial to ASIS, and lengthwiseto include bottom of ASIS. “get what you get” up top, but no higher than T1 0 (xiphoid)

- Suspend respiration on expiration, to move lungs off L1-T1 2

- Marker on crosshair

Lateral Lumbar Spine

# SID 110 cm

### CR perpendicular to IR

- Center at a point between LCM and iliac crests, --4	cm above iliac crests, and iust posterior to MCP

- Collimate to include bottom of ASIS and T1 2 (“get what you get” up top, but no higher

than T1 0 (xiphoid)) in diverging roys

- Ensure spine is perpendicular to tube, use sponge to build up at waist

- Must demonstrate you are palpoting spinous processes

- Suspend respiration on expiration, to remove lungs off of L1 -Tl 2

- Marker on ASIS

US 1 Spot

- SID 110 cm

- CR 5 degree caudad

- Center posterior to the MCP

- Collimate 14 x 14 cm

- Marker on ASIS

- Suspend respiration

Lumbar Spine oblique

- SID 110 cm

- CR perpendicular to IR

- Patient at 45 degree MSP, arm across chest. Place sandbag to prevent sponge from slipping out

- Center at LCM, 4 cm above ilioc crests

- Collimate side to side to include upside ASIS, and lengthwise to include bottom of ASIS.“get what you get” up top, but no higher than T1 0 (xiphoid)

- Marker on cross hair of upside

- Suspend respiration on expiration

SI Joint and Socrum Changing Instructions

Pants, underwear if it has metal or decorations on it. Gown on

AP Axial Socroilioc Joints

## SID 110 cm

- CR angled cephalad 30 degrees for males, 35 degrees for females

- Center Jcm inferior to ASIS

- Collimate side to side to include SI |oints, 1 inch medial to ASIS, and lengthwise to include ASIS at top and symph (trochanter) at the bottom

- Pull tube out to check diverging rays, on the table the upper limit of the light is the iliac

crest.

## Marker on upper corner

Oblique Socroilioc Joints

- SID 110 cm

- CR perpendicular to IR

- Mid coronal plane rotated 25-30 degrees. Place small sponge under elevated side and

have patient flex the downside knee and tuck foot under upside knee

- Center l inch (2.J cm) medial to ASIS

- Collimate side to side to include upside ASIS, and lengthwise to include iust below ilioc

crest.

- Suspend respiration

- Mark side being demonstrated on upper lateral corner

AP Axial Socrum

- SID 110 cm

- CR angled 15 degrees cepholad

- Center J cm superior to symph (trochanter)

- Collimate side to side to include SI |oints, 1 inch medial to ASIS, and lengthwise to

include entire socrum

- Pull tube out to check diverging rays, on the table the lower limit of the light is the greater trochanter

- Suspend respiration

- Marker on upper corner

Lateral Socrum and Coccyx

# SID 110 cm

## CR perpendicular to IR

- Center 8-10 cm posterior to ASIS

### Collimate side to side to include L5S1 in top anterior corner and posterior portion of

sacrum. Up and down collimation to entire sacrum and coccyx.

- Pull tube out to check diverging rays, on the table the upper limit of the light is the ilioccrest ancl the lower limit is the greater trochanter.

- Suspend respiration

- Marker on crosshoir, anterior of patient

Sternum, Ribs, SC |oinf Changing Instructions Top, bra, necklace off. Gown on.

RAO Sternum

# SID 110 cm

- CR perpendicular to IR

## Sternum is placed between the spine and the medial border of the scapula, andleft arm is placed on detector

- Center midway between the iugular notch and xiphoid, |ust above inferior angle of

scapula.(this corresponds to |ust below TO, sternal angle)

- Suspend respiration on expiration

- Marker on upper corner on detector, mark right side

Lateral Sternum

- SID 180 cm

- CR perpendicular to IR

- Center mid sternum. iust posterior to the lateral sternum

- Rotate collimator to match angle of sternum

- Collimate to include entire length of sternum up and down. Side to side collimate to include SC i°ints

- Suspend respiration on full inspiration

- Marker on upper corner, anterior to patient

PA Sfernocloviculor Joinfs

- SID 110 cm

- CR perpendicular to IR

- Center at level of |uguIar notch (T3), 3 inches (7'cm) from vertebra prominens

- Collimate side to side to include SC |oints and 1/x of medial clavicles ancl lengthwise to include monubrium to sternal angle (T4-5)

- Suspend respiration on expiration

- Marker on upper corner

### RAO/LAO SC Joints

- SID 110 cm

- CR perpendicular to IR

- Rotate patient MCP to move spine behind SC i°int closest to the IR

- Center on downside SC i°int at level of iugular notch (T3), 3 inches (7cm) from vertebra

prominens

- Collimate side to side to include SC |oints and 1/x of medial clavicles ancl lengthwise to include monubrium to sternal angle (T4-5)

- Suspend respiration on expiration

- Marker on upper corner of side being demonstrated (side down)

Anterior Upper Ribs

- * remember PA chest MUST be done with any rib routine*

### Sid 110 cm

- CR perpendicular to IR

- Center at level of T7

- Collimate to include LCM and include spine to lateral border of chest (AC |oint), ribs 1-10 demonstrated

- Move scopulo off ribs by raising arm onto detector

- Suspend respiration on inspiration

- Marker on upper corner on detector

### PA Oblique Ribs

- SID 110 cm

- CR perpendicular to IR

- Center at level of T7' and midway between spine and lateral border of chest

- Rotate patient 4J degrees, affected side up

- Collimate to include LCM and include spine to oxillary margin (AC i°int), ribs 1-10

demonstrated

- Move scopulo off ribs by raising arm onto detector

- Suspend respiration on inspiration

- Marker on upper corner on detector

Upper Posterior Ribs ( 1-1 0)

- SID 110 cm

- CR perpendicular to IR

- Center at level of T7 , midpoint of sternum

- Collimate to include LCM and include spine to axillary margin (AC i°int)

- Move scapula off ribs by raising arm to side

- Suspend respiration on inspiration

- Marker on upper corner on detector

### AP Oblique Ribs (1-10)

- SID 110 cm

- CR perpendicular to IR

- Rotate patient 45 degrees, affected side down

- Center at level of T7 , midpoint of sternum

- Collimate to include LCM and include spine to lateral border of chest (AC |oint)

- Move scapula off ribs by raising arm to side

- Suspend respiration on inspiration

- Marker on upper corner on detector

Posterior Ribs (8-12)

- SID 110 cm

- CR perpendicular to IR

- Center midway between LCM and xiphoicl (T10)

- Collimate to include LCM to T7 and spine to lateral border of chest

- Move scapula off ribs by raising arm to side

- Suspend respiration on expiration

- Marker on upper corner

### AP Oblique Ribs (8-12)

- SID 110 cm

- CR perpendicular to IR

- Center midway between LCM and xiphoicl (T10)

- Collimate to include LCM to TZ and include spine to lateral border of chest (AC |oint)

- Move scapula off ribs by raising arm to side

- Suspend respiration on expiration

- Marker on upper corner on detector

Remember:

- Introduce yourself

- Double ID

- Verify exam

- LMP- answer 1 week ago

- Remove artifacts

- Gowning instruction