Worksheet - Density – kVp and mAs – ANSWER KEY

- What is the definition of the density of a radiographic image?

The degree of blackening.

- What is the range of OD that can be detected by human vision?

0.25-2.5 OD

- What are prime factors?

These are the factors that alter the radiographic density of images.

- If there was no option, and a choice had to be made, it is better to take an image that would result in:

  - An image with too much density

  - An image without enough density

- How is the decision made about whether the radiographic density on an image is sufficient?

It comes down to common sense and experience.  The radiographer views the entire image to determine whether the recorded detail is seen.  This is through knowledge of what anatomy needs to be present on an image.

- How is visibility achieved?

It is a balance of radiographic density and radiographic contrast.

- What type of relationship does mA and time have with radiographic density?

  - Directly proportional

  - Inversely proportional

  - Inversely squared

  - No relationship

- Which mAs setting will produce a radiograph with the most radiographic density?

  - 50 mA, 18ms

  - 500 mA, 3 ms

  - 300 mA, 25 ms

  - 100 mA, 40 ms

# MRT Program – APPH 226

- A patient is having difficulty holding still for the exposure.  What would be the best technique to use in this situation?

  - 100 mA, 0.05 s

  - 200 mA, 1/40 s

  - 500 mA, 10 ms

  - 50 mA, 0.1 s

- If all other factors were left unchanged, and the mA is increased from 100 to 200, how will the radiographic density on the image be affected? It will double

- If all other factors were left unchanged, and the exposure time is decreased from 0.1 sec to 0.05 s, how will the radiographic density on the image be affected?

It will be halved.

- List five viable combinations of mA and time that will produce 10 mAs.

10mA, 1 s;   20 mA , 0.5 s;   5mA, 2s;   30mA, 1/3 s;  25 mA, 0.4 s mA x time = mAs

- Calculate the mAs value that would halve the radiographic density of the original mAs given.

  - 50 mAs  = 25 mAs

  - 100 mAs  = 50 mAs

  - 240 mAs = 120 mAs

- Calculate the mAs value that would double the radiographic density of the original mAs given.

  - 40 mAs = 80 mAs

  - 75 mAs = 150 mAs

  - 8.4 mAs = 16.8 mAs

# MRT Program – APPH 226

- After an exposure is taken, it is determined that the density needs to be increased slightly, by about 30%.  What should the technologist do?

  - Increase the mAs by 30% for the repeat exposure

  - Increase the mAs by 50% for the repeat exposure

  - Decrease the mAs by 30% for the repeat exposure

  - None of the above.     (mAs changes are usually by 50% to warrant the repeat)

- What factor of the x-ray beam is controlled by kVp?

  - Quality

  - Quantity

  - Both

  - Neither

- kVp primarily controls _________ .

  - Density

  - Distortion

  - Contrast

  - Detail

- In order to double the radiographic density on an image, what change in kVp is needed?

It needs to be increased by 15%, the 15% rule.

- The number of electrons in the thermionic emission cloud is controlled by kVp.

  - True

  - False

- X-rays with more penetrability have a ____________ wavelength than weaker x-rays.

  - Shorter

  - Longer

  - Higher

  - Lower

# MRT Program – APPH 226

- Calculate what the new kVp should be in order to halve the radiographic density.

Original: 20 mAs and 80 kVp New: 20 mAs and 68 kVp

- The _____% rule is most accurate in the kVp range of __________.

  - 30;  40-80 kVp

  - 30; 60-100 kVp

  - 15; 40–80 kVp

  - 15; 60-100 kVp

- When kVp is increased:

  - The number of x-rays transmitted is increased

  - Compton scattering is increased.

  - The amount of fog is decreased.

  - All of the above

  - A and B only.

- Fill in the missing information on the chart to maintain the same radiographic density.

| Original |  | New |  |
| --- | --- | --- | --- |
| mAs | kVp | mAs | kVp |
| 15 | 60 | 7.5 | 69 |
| 40 | 50 | 10 | 66 |
| 15 | 80 | 30 | 68 |
| 70 | 90 | 140 | 77 |

# MRT Program – APPH 226