Guided Reading Activity: Outcomes Assessment

## Purpose:

Critical thinking questions provide an opportunity to reflect on textbook readings for better understanding and retention of information.

## Instructions:

- Complete the assigned readings (refer to the course schedule).

- Answer the following critical thinking questions.

- Check your answers with the answer key.

## Critical Thinking Questions

- State the three main advantages for lowering department repeat rates.

- Explain the difference between causal repeat rate and total repeat rate.

- What are the three main categories of image artifacts for film-based images?

- Describe the various types of artifacts that can occur during digital radiography.

- Describe the differences between accuracy, sensitivity and specificity.

- What is the causal repeat rate for positioning error if 132 images are repeated for this       error out of a total of 742 repeat images?

- What is the total repeat rate for a diagnostic imaging department when a total of 1,640 images are obtained and 372 must be repeated?

- What is the primary cause of quantum mottle in a radiographic image?

- What is the primary cause of a Moiré artifact?

## Resources

Bontrager, K. L. & Lampignano, J. (2015). Textbook of radiographic positioning and related anatomy (8th ed.). St Louis, MO: Mosby Elsevier.

Papp, Jeffrey. (2015). Quality management in the imaging sciences (5th ed.). St. Louis, MO: Mosby Elsevier. Retrieved from http://evolve.elsevier.com/Papp