# Guided Reading Activity: QC for X-ray Tube and Generator

## Purpose:

Critical thinking questions provide an opportunity to reflect on textbook readings for better understanding and retention of information.

## Instructions:

- Complete the assigned textbook readings (refer to the course schedule).

- Answer the following critical thinking questions.

- Check your answers with the answer key.

## Critical Thinking Questions

- Describe the three main parts of a quality control program for radiographic units.

- What are the steps of quality control testing of a medical X-ray system?

- Where should the instruction manual for the use of a radiographic system be kept?

- Discuss the factors to evaluate within the beam restriction system and their impact on image quality and patient dose.

- Describe the two main components of an automatic exposure control (AEC) system.

- Discuss the various AEC system quality control parameters to be evaluated and their importance in regard to image quality.

## Resources

Papp, Jeffrey. (2015). Quality management in the imaging sciences (5th ed.). St. Louis, MO: Mosby Elsevier. Retrieved from http://evolve.elsevier.com/Papp