MRAD 302- Specialized Imaging 2

Magnetic Resonance Imaging (MRI) Worksheet

Purpose:

This activity will help you gain knowledge of alternative imaging procedures, specifically MRI.

Instructions:

Review the following information and fill in the answers where indicated.

MRI Imaging Basics:

- The human body consists of approximately ______% water.

- Water consists of ___________ and ___________ atoms. MRI primarily images hydrogen atoms which are found in great abundance in human tissue.

- The hydrogen atom consists of ___ proton and ___ electron. The proton is electrically charged and _____________around its axis. The hydrogen proton can be looked at as a tiny bar magnet with a north and south pole. These tiny magnets are randomly positioned in our bodies and the magnetic force is ______________.

- Draw a schematic of hydrogen protons as they are found in tissue:

Steps in acquiring an MRI image:

- The patient is placed in a ___________ magnetic field. Hydrogen atoms align and have a _________ magnetization along the axis of the magnetic field. They ________ (spin around their own axis) at the same rate (speed) but they are ______________. The speed at which they precess is ______________________ to the strength of the external magnetic field.

- Draw a schematic of hydrogen atoms when placed in an external magnetic field:

- Having the protons align does not create an image.  _____________________, __________________, ___________________, computing and display are the fundamental steps in MRI imaging.

Excitation:

- When a ________________________ (RF) is applied at the precession (resonance) frequency of the aligned protons, the protons can ______________ that energy. The protons are now lifted into a higher energy state. This ____________ the net magnetization. The protons also begin to precess “in phase.”

Relaxation:

- Protons do not like being in this higher energy state, so when the RF is turned off the protons want to ____________ to their original state.

- When the RF is turned off:

  - The protons ______________ the absorbed energy in the form of RF waves. Each tissue will relax (release energy) at different rates. The protons return to the Z axis. This is called ___________________.

  - The protons begin to spin ____________________ again. The process of getting from total in phase to a total out of phase situation is called ________________.

Remember:

- T1 and T2 relaxation are two independent processes happening simultaneously.

- T1 happens along the Z axis, T2 happens along the X-Y axis.

- T2 is quicker than T1.

|  | T1 (ms) 0.25T | T1 (ms) 1.5T | T2 (ms) |
| --- | --- | --- | --- |
| Grey matter | 530 | 921 | 101 |
| White matter | 422 | 787 | 92 |
| Kidney tissue | 417 | 652 | 58 |
| Kidney tumor | 733 | 907 | 83 |
| Liver tissue | 250 | 493 | 43 |
| Liver tumor | 713 | 905 | 84 |

Acquisition:

During the relaxation phase the protons shed excess energy in shape of radiofrequency waves. These waves are picked up with a receiver coil/antenna.

Computing:

The received RF waves emitted by the protons are then fed to a computer that converts the information into a digital image.

Safety Considerations for MRI

Due to the presence of a strong magnetic field, application of external RF and enclosed spaces, safety considerations in MRI include:

- Projectile effect: A static magnetic field surrounds the scanner at all times (fringe field). If metal objects interact they can become projectiles. Small objects can reach high speeds up to 65 km/hour.

- Possible damage to electrical components and function of cardiac pacemakers or cochlear implants.

- Displacement of metal objects such as metal surgical clips (aneurysm clips) and metallic objects in eyes (pre-MRI orbits).

- Local heating of tissue.

- Claustrophobia.

- Hearing impairment.

Advantages of MRI:

- Excellent contrast resolution.

- Superior soft tissue imaging due to interactions with plentiful hydrogen atoms.

- No ionizing radiation as only RF waves are used.

- Multi-planar imaging capabilities (images in every imaginable plane can be reconstructed).