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Guided Reading Activity: QC for Mammography
Purpose: 
Critical thinking questions provide an opportunity to reflect on textbook readings for better understanding and retention of information.
Instructions:
· Complete the assigned readings (refer to the course schedule).
· Answer the following critical thinking questions.
· Check your answers with the answer key.
Critical Thinking Questions
1. [bookmark: _GoBack]Explain the major differences between mammographic exposure factors and those used for conventional radiography.

2. Explain the major differences between mammographic X-ray tubes and conventional X-ray tubes.

3. State the advantages of breast compression during mammography.

4. State the advantages of digital imaging during mammography.

5. State the main provisions of the Mammography Quality Standards Act.

6. State the responsibilities of the medical physicist for quality control evaluation of mammographic equipment.

7. Explain the scoring method used for phantom image evaluation in mammographic quality control.
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