APPH 226 – Apparatus and Image Management

# Worksheet - PACS Networking

# Questions 1-28

Digital Radiography and PACS 3rd Ed: Pg 100-111

- What is the difference between a WAN and a LAN?

- Which network, WAN or LAN, utilizes the fastest communication technology and why?

- What is the primary reason that a WAN can be very expensive?

- Which connection medium is most commonly used in LANs?

- Which type of connection medium is most sturdy?  Which is the most fragile?

- List and describe the various types of component role classifications.

- What is the main difference between the server-based network and the client-based network?

- What are the three types of computers found on a network?

- Which computer is typically the most robust computer on the network?

- Which device requests services and resources from a server?

- What is the difference between a thin client and a thick client?

- What is the purpose of the NIC?

- What are the four most common topology configurations?

- What the most commonly used network topology?

- What is a limitation of the ring topology?

- What is the weakness of the bus topology?

- What are a few things that need to be taken into consideration when deciding what type of topology should be used?

- What is the advantage of using a mesh topology?

- What does DICOM stand for?

- Why is the implementation of DICOM significant?

- Does a DICOM device need to conform to all the DICOM standards?

- Describe the role of UIDs in DICOM.

- What is the most common compression technique used within the hospital?

- If higher compression values are used for images, what can occur?

- What is the purpose of a DICOM image header?

- What is HL-7 used for?

- What is the difference between HIS and RIS?

- What is the EMR?