MRAD 204- Radiographic Technique 1 – Lab Guidelines

Purpose

Prepare learners to use x-ray equipment effectively, and apply best practices when positioning patients.

Prior to any Labs:

- You must complete all of the following (found on Edenbrook under the content “Lab” tab):

  - “MRT Lab Safety Orientation” PowerPoint

  - “MRT Laboratory and Radiation Safety Manual” PDF document

  - “MRT Lab Safety Orientation Checklist” (*submit into “assignments” section)

  - “Lab Safety Orientation” test (*under “assessments” then select “tests” tab on Edenbrook) Note:

- The “test” is an acknowledgement statement, consisting of 2 true/false questions

General Guidelines for all Labs:

- Come prepared:

  - Ensure you have read the affiliated textbook & Positioning PowerPoint prior to lab

  - Must be in black scrubs with appropriate footwear

- You must wear your dosimeter at all times

  - As soon as you enter the lab, don your personal dosimeter (from the basket at the entrance of your weekly assigned room)

  - Once lab is complete, doff your personal dosimeter (back into the basket)

- Communication with:

  - Other personnel: use correct medical terminology (ex. prone, distal, IR, etc.)

  - Patients: refrain from using medical terminology (ex. say “board” instead of IR)

- Follow ’s Marker Rules

- SID must be measured appropriately, prior to an exposure

  - Tube and IR must be aligned, using the correct tube angle (as required) prior to measuring

  - Only check SID once, unless you move the tube or IR significantly after measuring (then repeat the SID measurement)

- When using CR cassettes:

  - Always select the smallest allowable size (based on patient anatomy)

  - Attempt to place anatomy of interest as close to the center of the IR as possible

- Follow ALARA guidelines:

  - Properly shield your patients

  - Collimated light field borders should extend at least ½-inch to no farther than 1-inch beyond all required anatomy

  - The x-ray tube should never be directed at parts of anatomy that are not within the

ROI (region-of-interest)

i. Examples: patients legs should not be under a cassette; the tube should not be directed towards the patients body for axial scaphoid projections

- Practice your workflow (by resetting the equipment between studies)

  - Recall which tube locks must be engaged for each projection

Notes:

- There will be 2 supervising instructors per lab; if you need assistance you may ask either instructor

- Devices (i.e. iPads) are permissible during regular lab hours, to use as reference material

- Personal dosimeters must be worn between the hips and shoulders (recommended to hook inside a scrub pocket)

- Refer to your lab schedule to identify your weekly assigned room

- Room adaptations:

  - Room 1 console is slightly different than Rooms 2→4

  - Room 1 & 3 are dual detector rooms; Room 2 & 4 are single detector rooms

- Beginning Week 2:

  - Requisitions will be provided for practice

  - Instructor demos will commence

    - *One group member must volunteer to act as a patient – decide who will participate prior to lab

    - Questions will only be addressed after demo is complete

  - Learners must take turns participating in the following roles:

    - Technologist

    - Patient iii. *Observer/assisting technologist (applies to groups of 3)

The goal of each lab is to perform room setup within 2 minutes (including patient double identification), and 2 minutes positioning per projection