




MRAD 204 – Radiographic Technique 1 – Lab 9

Purpose
1. Plan and perform an imaging procedure for the femur and knee.
Instructions
1. One group member must volunteer to act as a patient for an instructor demo

2. Observe the instructor demo, taking notes as needed
1. Opportunity to ask questions after demo is complete

3. As a group decide who will begin performing the following roles:
1. Technologist
2. Patient
3. *Observing technologist (applies to groups of 3)

4. The acting technologist should begin positioning a patient for Routine Knee imaging
1. Complete all 4 projections
2. Maintain a workflow (i.e. select pt. info on the console, prep the exam room etc.)
1. Audibly say “beep” when a pt. is properly positioned and you are ready to “expose”

5. Switch roles and repeat step 4 (until everyone has completed positioning for Routine Knee projections)

6. Repeat steps 4-5, except practice positioning a patient for Routine Femur imaging

7. As time permits, repeat steps 4-6 to successfully accomplish the lab goals


Goals:
1. Perform an entire Routine Knee exam within 8 minutes or less
2. Perform an entire Routine Femur exam within 8 minutes or less *requires pt. draping
3. Practice both anatomical sides for Knee and Femur imaging (as time permits)
*Overall goal: perform room setup within 2 minutes (includes pt. double id.), and 2 minutes positioning per projection*

Reminders:
 Ensure the IR selector is set appropriately to “table”
 Lock must be “on” to center to the table IR (from left-right)
 Use the laser light to align your tube and detector (superior-inferiorly)
 Ensure required anatomy is centered to the IR (aka. detector) by free-floating the table
 Follow Edenbrook’s Marker Rules
 Practice both anatomical sides (aka. right & left knee and femur routines) & use draping
 Re-set the room after each exam to practice managing the equipment
 Ask your supervising instructor for assistance as needed







	
	
	



