APPH 226 – Apparatus and Image Management

Worksheet – Grids

- Define:

- Grid ratio:

- Grid frequency:

- Contrast Improvement Factor (k):

- Bucky Factor:

| Grid | Description | Advantages | Disadvantages |
| --- | --- | --- | --- |
| Parallel |  |  |  |
| Crossed |  |  |  |
| Focused |  |  |  |

- A technologist is taking a mobile abdomen on a patient in ICU using 80 kVp @ 12 mAs and a 8:1 grid.  What will the exposure factors be if the technologist was using a:

  - 5:1 grid

  - 12:1 grid

  - No grid

- Exposure 1 is taken with a 12:1 grid using 85 kVp 20 mAs.  What will the new exposure factors be if Exposure 2 is taken with an 8:1 grid?

- Exposure 1 is taken with a 5:1 grid using 65 kVp 10 mAs.  What will the new exposure factors be if Exposure 2 is taken using an 8:1 grid?

- Exposure 1 is taken with an 8:1 grid using 75 kVp 32 mAs.  What will the new exposure factors be if Exposure 2 is taken with no grid?

- An exposure is taken with a 16:1 grid using 105 kVp 12 mAs.  A second exposure is to be taken with an 8:1 grid.  What will the new exposure factors be to double the radiographic density for the second exposure?

- Exposure 1 is taken with a 12:1 grid using 80 kVp 8 mAs.  What will the new exposure factors be if Exposure 2 is taken with an 16:1 grid?

- Exposure 2 is taken with a 12:1 grid using 85 kVp 20 mAs.  What were the original exposure factors be if Exposure 1 was taken with a 16:1 grid?