# Activity - Image Quality

## Purpose:

Outcome 3: Analyze components of image formation and appearances.

Increase understanding of factors affecting image quality, and post-processing techniques used by technologists to improve CT image quality.

## Instructions:

Answer the following short answer questions.

Questions

- Define MPR.

- In what plane are CT images usually acquired?

- What is an advantage of MPR?

- What is a disadvantage when using MPR?

- List 6 operator-controlled parameters that can be adjusted to optimize CT image quality.

- Define spatial resolution.

- What is the unit of measurement for spatial resolution?

- What setting can the operator control to improve spatial resolution?

- What is the function of a convolution algorithm?

- List 2 examples of algorithms and what anatomy they might help demonstrate.

- How does pixel size affect spatial resolution?

- Define contrast resolution.

- What settings can the operator control to improve low-contrast resolution?

- Define noise on a CT image.

- What does noise appear as on a CT image?

- What is SNR?

- What is the relationship between spatial resolution and SNR?

- Identify 3 factors that affect noise in CT images?
 -

-

-

- What does a beam-hardening artifact look like on a CT image?

- What is a common anatomical site for beam hardening artifact to occur?

- What can be done by the operator to prevent or correct beam-hardening artifact?

- What is partial volume averaging?

- What does the partial volume artifact look like on a CT image?

- What can be done by the operator to prevent or correct partial volume artifact?

- What does motion artifact look like on a CT image?

- What does metal artifact look like on a CT image?

- What is the pixel size in mm, of a 24cm DFOV, and a 512-matrix head study?

- What is the pixel size in mm, of a 20cm DFOV, and a 256-matrix spine study?

- What is the pixel size in cm, of a 450mm DFOV, and a 512-matrix abdominal study?

- Explain which study (head, spine, or abdominal) used the highest spatial resolution?