


Purpose

Lab 11

1. Plan and perform an imaging procedure for the ankle, foot and calcaneus.
Instructions
1. As a group decide who will begin performing the following roles:
1. Technologist
2. Patient
3. *Observing technologist (applies to groups of 3)

2. The acting technologist should begin positioning a patient for Routine Ankle imaging
1. Complete all 3 projections
2. Maintain a workflow (i.e. select pt. info on the console, prep the exam room etc.)
1. Audibly say “beep” when a pt. is properly positioned and you are ready to “expose”

3. Switch roles and repeat step 2 (until everyone has completed positioning for Routine Ankle projections)

4. Repeat steps 2-3, except practice positioning a patient for Routine Calcaneus imaging

5. Repeat steps 2-3, except practice positioning a patient for Routine Foot imaging

6. As time permits, repeat steps 2-5 to successfully accomplish the lab goals


Goals:
1. Perform an entire Routine Ankle exam within 6 minutes or less
2. Perform an entire Routine Calcaneus exam within 4 minutes or less
3. Perform an entire Routine Foot exam within 6 minutes or less
4. Practice both anatomical sides (as time permits)
*Overall goal: perform room setup within 2 minutes (includes pt. double id.), and 2 minutes positioning per projection*

Reminders:
 Ensure the IR selector is set appropriately to “cassette” *even if using the “wireless IR”
 Lock must be “on” for all straight ray projections
o Check SID manually (and adjust when changing CR angles)
 Ensure required anatomy is centered to the IR
 Follow Edenbrook’s Marker Rules
 Practice both anatomical sides (aka. right & left ankle, calcaneus, and foot routines)
 Re-set the room after each exam to practice managing the equipment
 Ask your supervising instructor for assistance as needed
