MRAD 256 – Radiographic Technique 2 : Sinuses, Nasal Bones, Mandible and TMJ

Plan and perform an imaging procedure for the sinuses, nasal bones, mandible and TMJ.

Instructions

- One group member must volunteer to act as a patient for an instructor demo.

- Observe the instructor demo, taking notes as needed

  - Opportunity to ask questions after demo is complete

- As a group decide who will begin performing the following roles:

  - Technologist

  - Patient

  - *Observer/assisting technologist (applies to groups of 3)

- The acting technologist should begin positioning a patient for Sinuses and Nasal Bones imaging:

  - Complete all projections: Sinuses – Caldwell, Water’s and lateral Nasal Bones -  Waters and lateral

  - Maintain a workflow (i.e. select pt. info on the console, prep the exam room etc.)

i. Audibly say “beep” when a pt. is properly positioned, and you are ready to

“expose”

- Switch roles and repeat step 4 (until everyone has completed positioning all projections)

  - When switching roles, move the equipment into a completely different position

  - Repeat steps 3-5, except practice positioning a patient for Mandible imaging: PA, Townes axial and axiolateral oblique

- Repeat steps 3-5, except practice positioning a patient for TMJ imaging: Axial Townes and open and closed mouth

- As time permits, repeat steps 3-7 to successfully accomplish the lab goals

Goals:

- Perform the sinuses and nasal bones exams within 40 minutes or less

- Perform an entire mandible exam within 20 minutes or less

- Perform an entire TMJ exam within 20 minutes or less

*Overall goal: perform room setup within 2 minutes (includes pt. double id.), and 10 minutes positioning per projection*

Notes:

- Use/share the requisitions provided at your room

- For CR select the appropriate size cassette for your patient’s anatomy

- SID must be measured for accuracy, once equipment is lined up appropriately

- Ensure the required anatomy is centered on the image receptor

- Collimated light field borders should extend ½-inch to less than 1-inch beyond all required anatomy

- Follow Anderson’s Marker Rules

- Ask your supervising instructors for assistance as needed