# Activity: Protecting Staff from Radiation – ANSWER KEY

Introduction to the Safety Code 35 & answer the following questions:

- Complete the following statements.

X-rays can potentially damage healthy cells & tissues therefore procedures employing X-ray equipment must be carefully managed

Procedures must be in place to keep exposure to patients, staff & the public

As Low As Reasonable Achievable

While doses from conventional radiography are usually small, dose can be significantly higher in Computed Tomography, Interventional & fluoroscopy

When equipment is properly designed, installed, maintained & trained technologists work to limit exposures to patients, dose can be significantly reduced

Due to uncertainties regarding radiological risk, it is assumed that the health risk from radiation exposure is proportional to the dose

This is represented by a linear no-threshold hypothesis

Relationship has led to the development of a radiation protection principle known as the ALARA principle

- Summarize the four main aspects of patient, staff & public radiation protection:

- Patients should not be subjected to unnecessary X-rays

X-rays must be justified & follow a clinical examination

- Must be protected from excessive radiation during the exam

No unnecessary repeats, excessive techniques, must be shielded

- Personnel in the facility must be protected from excessive exposure

Primary, Secondary & protected with accessory lead protection

- Personnel & the public in the vicinity need adequate protection

Equipment must operate properly & proper protective barriers

- Who do dose limits apply to?

Established for radiation workers & the general public

Limits do not apply to doses received as a patient

Responsibilities of Personnel in the SC 35 & answer the following questions

- Summarize the responsibilities of the roles

Owner

Ultimately responsible for the radiation safety of the facility

Ensures that the equipment & facilities meet radiation safety standards

Ensures a radiation safety program is developed, implemented & maintained for the facility

Responsible User

Main role

To monitor & manage the radiation safety program of the facility

Ensure X-ray & all accessory equipment is functioning properly & maintained

Implement & maintain QA program including QC testing, establishing DRLs

Ensure equipment used properly by competent trained personnel

Ensure investigations into any known or suspected exposures received by personnel (higher doses than usual, excess)

Radiation levels in controlled/uncontrolled areas below maximum permissible limits (annual dose limits)

X-ray Equipment Operator

Responsible to carry out prescribed exams in a manner which doesn’t cause any unnecessary exposures to patient, themselves or other workers

Can be a qualified physician, physician/practitioner or radiation technologist

Recognize radiation hazards & minimize them

Strive to eliminate unnecessary exams

Participate in QA program

Understand recommendations of safety code

Radiation Safety Officer

Must be a Medical Physicist/ Radiation Safety Officer (RSO) to act as an advisor on all radiation protection aspects during construction of facility, equipment installation

Ensure installation complies with requirements

Establish safe working conditions

Review & update safety procedures

Instruct X-ray equipment operators in proper radiation protection practices

Declare who is to be an occupationally exposed person

Organize participation in personnel radiation monitoring

Personal dosimeters

Investigate abnormal exposures to patients and staff

Referring Physician

Person that prescribes X-ray procedures

Ensure that the use of X-rays is justified

Give consideration to other non-X-ray exams

Be aware of the risks associated with X-rays

Be confident that the procedure will improve the patient’s diagnosis/treatment sufficiently as compared to non-X-ray methods

Guidelines for Reduction of Dose to Sensitive Tissue in the SC 35 & answer the following questions.

- Complete the following statements

Ionizing radiation has the ability to produce gene mutations & chromosome aberrations in cells

Greatest concern is for reproductive & rapidly dividing cells

Mutations in reproductive & dividing cells may be passed on to further generations or effects may be amplified

Reducing gonadal dose to individual patients can help to reduce the genetically significant dose to the population

Assuming a no threshold dose makes it important to minimize any radiation to the sensitive tissues

- List five factors that are important for reducing doses to sensitive organs

Collimation to include anatomy of interest only

Examinations of children & adolescents should be kept to a minimum

Use appropriate gonadal shielding

Appropriate technique selection

Use higher sensitivity/speed equipment

Regulatory Requirements for Medical X-ray Equipment & answer the following questions

- What is the Radiation Emitting Devices Act?

RED ACT specifies the standards for info, labeling, construction & performance of equipment, with respect to radiation safety

All new, used, refurbished medical X-ray equipment & accessories in Canada must meet the RED act regulations

- Whose responsibility is it to ensure that equipment conforms to the RED ACT regulations?

Manufacturer or distributor

Radiation Protection of Radiation Worker & Staff

- Define the three cardinal rules of radiation protection. (Sherer Pg. 308-334)

Time

Only be present in the radiographic room when needed for patient care or to assist the doctor

When not required to be in the room, stand behind a barrier

Distance

Most effective means of protection

Inverse Square Law (ISL)- Intensity of radiation is inversely proportional to the square of the distance from the source

Shielding

When it is not possible to limit time or increase distance shielding must be used

Most common material for structural barriers is lead & concrete

Accessory devices aprons, gloves & mobile shields are leaded vinyl or plastic

- Define the common types of structural & accessory protective shielding.

(Sherer Pg. 314 – 319)

Structural Shielding

Walls & doors ensure occupational & non-occupational dose limits not exceeded

Medical physicist determines the exact protective requirements

Primary Protective Barrier

Prevent direct or non-scattered radiation from reaching anyone

Located perpendicular to the non-deflected line of the X-ray beam

Strength of barrier determined by the peak of the beam used

Secondary Protective Barrier

Protection from the tube housing or patient scatter & leakage only

Any wall never struck by the primary beam

Control booth

Secondary barrier only

X-rays must scatter minimum of twice before entering

Permanent barrier installed minimum of 7 feet high

Clear Lead-Plastic Barrier

Windows in the control booth

Mobile for use in the OR, portable

Accessory Protective Devices

Lead Aprons, Gloves,& Thyroid Shield

Used whenever unable to remain behind physical barrier

Minimum lead equivalent is required recommended value suggested by SC 35

For occupationally exposed personnel (Not normally given to patients)

Protective Eyeglasses

Common in interventional procedures

- What are the X-ray equipment operators responsibilities regarding quality assurance programs? (SC 35 Pg. 8)

Everyone must participate fully, including reporting any change in equipment performance

- Who is required to wear a personal dosimeter?  (SC 35 Pg. 8)

Anyone that is likely to receive a dose in excess of 1/20th of the dose limit.

Radiation workers (20mSv for whole body dose)

General population (1 mSv for whole body dose)

- What is the main role of the medical physicist or radiation safety officer?

(SC 35 Pg. 8)

They must act as an advisor on all radiation protection aspects during the initial stages of construction of the facility, installation of the equipment & during subsequent operations

- Define the important factors for reducing dose to sensitive organs.

Correct collimation

Exposure of gonads, female breast tissue & thyroid should be avoided

Minimize exposures to children & adolescents

Benefit must outweigh the risks

Use of gonadal shielding whenever possible

Gonads close to beam (5cm)

Patient is of reproductive age

Clinical objectives not compromised

Appropriate technique selection

Use higher kVp & lower mA when possible

Sensitivity /speed of imaging system (SC 35 Pg. 15)

Must be maintained at its optimum value

High sensitivity/speed decreases dose