RADP 215 – Radiation Protection

Final Exam Review

Questions 1 - 32

- Briefly describe the interaction

Photoelectric Absorption (PE)

Coherent

Compton

Pair Production

Photodisintegration

- Under what conditions will we see the interaction?

Photoelectric Absorption (PE)

Coherent

Compton

Pair Production

Photodisintegration

- What are the products of this interaction?

Photoelectric Absorption (PE)

Coherent

Compton

Pair Production

Photodisintegration

- List some factors that need to be taken into consideration when designing an X-ray room or department.

- What types of radiation are do we need to protect against

- What factors need consideration when determining the shielding necessary for diagnostic X-ray installations.

  - __________________________________

  - __________________________________

  - __________________________________

  - __________________________________

  - __________________________________

  - __________________________________

  - __________________________________

- What is the minimum barrier requirement for the control booth?

- Scatter at one meter from the patient is defined as ____ % intensity of the useful beam.

- If an exam results in 250 mR at the patient, what will the scatter be at 1 meter away?

- If an exam results in 350 mR at the patient, what will the scatter be at 2.5 meter away?

- What will the total primary beam be if the output is 1.50 mR/mAs, the weekly beam-on time is 7 minutes and the average mA is 150?

  - What will the scatter be at a control booth 2 meters away for the above question?

  - What would the leakage be at the control booth 2 meters away?

  - What is the total amount of secondary radiation at the control booth?

- Describe the radio sensitivity of spermatogonia and ova during their different stages.

- List the recommended limits for pregnant radiation workers.

- Who is required to calculate fetal exposure?

- List some modifications and considerations that should be made in regards to exams involving a pregnant patient.

- Describe the possible effects of irradiation in utero at different stages of pregnancy.

- Why is it useful to be aware of the patient’s previous exams?

- What is the purpose of Diagnostic Reference Levels (DRL)?

- What constitutes unnecessary patient dose?

- When is it acceptable to perform a repeat exposure?

- How can good communication help decrease patient dose?

- AP or PA: Which scoliosis position will decrease breast dose & why?

- What is the main reason why the proper use of immobilization devices may decrease patient dose?

- Define the following terms:

Linear Energy Transfer (LET)

High LET

Low LET

Target Theory

Law of Bergonie & Tribondeau

Indirect action

Direct action

Relative Biologic Effectiveness (RBE)

Acute Radiation Syndrome (ARS)

Direct Transmission

Protraction

Fractionation

Lethal Dose

LD 50/30-

- What is the difference between the absolute risk model, excess (biologic) risk model & the relative risk model?

Absolute risk

Relative risk

Excess risk

- Explain: Ionization

- Explain: Excitation

- Draw a nonlinear threshold  & nonthreshold radiation response

- Draw a linear threshold  &  linear  nonthreshold radiation response

- Define Tissue reactions/Deterministic Effects

- Define Stochastic/Probabilistic Effects

- Define the following terms:

  - equivalent dose:

  - effective dose:

  - absorbed dose