# Activity - Axial vs. Helical Imaging

### Purpose

Objective 1.2: Outline the basic steps for acquiring a CT image.

## Instructions:

Answer the following questions.

Questions

- In CT, what is the difference between analog and digital information?

-

-

- Describe the data acquisition process of conventional (also called slice-by-slice or step-and-shoot) scanning.

- Identify three disadvantages of conventional scanning.

-

-

-

- Describe the data acquisition process of helical (also called spiral, volume or continuous) scanning.

- Identify four advantages of helical scanning.

-

-

-

-

- What are some of the equipment requirements for a helical scanner compared to a conventional scanner?
-

-

-

- What is an advantage of using conventional scanning for a head?

-

-

- What is an advantage of using helical scanning for a head?

-

- What two things are more likely to occur when scanning a Chest & Abdomen using a Conventional CT scan vs. a Helical CT scan?

- Why are Volume scans used for contrast exams?

- Why is interpolation required, and which type of scanner is it used for?

- What is convolution?